## SCADA_Tags_IDH
Type | TAG | NEXT BLK | DESCRIPTION | Full Address | Clean_Address_BCD | Clean_Address | New_Name | New_Address | New_Address_Full
AI | T-51-1_PROPORTIONAL |  | (NGC) | OMR_GW2.IDH.DM2601 | DM2601 | DM2601 | CP_T-51-1_PROPORTIONAL | T_51_1_PROPORTIONAL | ABR_Central.Central.T_51_1_PROPORTIONAL
AI | T-51-1_PROPORTIONAL_AI |  |  | OMR_GW2.IDH.DM2601 | DM2601 | DM2601 | CP_T-51-1_PROPORTIONAL_AI | T_51_1_PROPORTIONAL | ABR_Central.Central.T_51_1_PROPORTIONAL
AI | T51-1_DERIVATIVE |  | (NGC) | OMR_GW2.IDH.DM2603 | DM2603 | DM2603 | CP_T51-1_DERIVATIVE | T51_1_DERIVATIVE | ABR_Central.Central.T51_1_DERIVATIVE
AI | T51-1_DERIVATIVE_AI |  |  | OMR_GW2.IDH.DM2603 | DM2603 | DM2603 | CP_T51-1_DERIVATIVE_AI | T51_1_DERIVATIVE | ABR_Central.Central.T51_1_DERIVATIVE
AI | T51-1_INTEGRAL |  | (NGC) | OMR_GW2.IDH.DM2602 | DM2602 | DM2602 | CP_T51-1_INTEGRAL | T51_1_INTEGRAL | ABR_Central.Central.T51_1_INTEGRAL
AI | T51-1_INTEGRAL_AI |  |  | OMR_GW2.IDH.DM2602 | DM2602 | DM2602 | CP_T51-1_INTEGRAL_AI | T51_1_INTEGRAL | ABR_Central.Central.T51_1_INTEGRAL
AI | T51-1_SAMPLING |  | (NGC) | OMR_GW2.IDH.DM2604 | DM2604 | DM2604 | CP_T51-1_SAMPLING | T51_1_SAMPLING | ABR_Central.Central.T51_1_SAMPLING
AI | T51-1_SAMPLING_AI |  |  | OMR_GW2.IDH.DM2604 | DM2604 | DM2604 | CP_T51-1_SAMPLING_AI | T51_1_SAMPLING | ABR_Central.Central.T51_1_SAMPLING
AI | T51-1_SETPT_AI |  |  | OMR_GW2.IDH.DM100 | DM100 | DM100 | CP_T51-1_SETPT_AI | T51_1_STPT | ABR_Central.Central.T51_1_STPT
AI | T51-1_SETPT_AR |  | (NGC) | OMR_GW2.IDH.DM100 | DM100 | DM100 | CP_T51-1_SETPT_AR | T51_1_STPT | ABR_Central.Central.T51_1_STPT
AI | T51-2_DERIVATIVE |  | (NGC) | OMR_GW2.IDH.DM2653 | DM2653 | DM2653 | CP_T51-2_DERIVATIVE | T51_2_DERIVATIVE | ABR_Central.Central.T51_2_DERIVATIVE
AI | T51-2_DERIVATIVE_AI |  |  | OMR_GW2.IDH.DM2653 | DM2653 | DM2653 | CP_T51-2_DERIVATIVE_AI | T51_2_DERIVATIVE | ABR_Central.Central.T51_2_DERIVATIVE
AI | T51-2_INTEGRAL |  | (NGC) | OMR_GW2.IDH.DM2652 | DM2652 | DM2652 | CP_T51-2_INTEGRAL | T51_2_INTEGRAL | ABR_Central.Central.T51_2_INTEGRAL
AI | T51-2_INTEGRAL_AI |  |  | OMR_GW2.IDH.DM2652 | DM2652 | DM2652 | CP_T51-2_INTEGRAL_AI | T51_2_INTEGRAL | ABR_Central.Central.T51_2_INTEGRAL
AI | T51-2_PROPORTIONAL |  | (NGC) | OMR_GW2.IDH.DM2651 | DM2651 | DM2651 | CP_T51-2_PROPORTIONAL | T51_2_PROPORTIONAL | ABR_Central.Central.T51_2_PROPORTIONAL
AI | T51-2_PROPORTIONAL_AI |  |  | OMR_GW2.IDH.DM2651 | DM2651 | DM2651 | CP_T51-2_PROPORTIONAL_AI | T51_2_PROPORTIONAL | ABR_Central.Central.T51_2_PROPORTIONAL
AI | T51-2_SAMPLING |  | (NGC) | OMR_GW2.IDH.DM2654 | DM2654 | DM2654 | CP_T51-2_SAMPLING | T51_2_SAMPLING | ABR_Central.Central.T51_2_SAMPLING
AI | T51-2_SAMPLING_AI |  |  | OMR_GW2.IDH.DM2654 | DM2654 | DM2654 | CP_T51-2_SAMPLING_AI | T51_2_SAMPLING | ABR_Central.Central.T51_2_SAMPLING
AI | T51-2_STPT_AI |  |  | OMR_GW2.IDH.DM110 | DM110 | DM110 | CP_T51-2_STPT_AI | T51_2_STPT | ABR_Central.Central.T51_2_STPT
AI | T51-2_STPT_AR |  | (NGC) | OMR_GW2.IDH.DM110 | DM110 | DM110 | CP_T51-2_STPT_AR | T51_2_STPT | ABR_Central.Central.T51_2_STPT
AI | T51-3_STPT_AI |  |  | OMR_GW2.IDH.DM130 | DM130 | DM130 | CP_T51-3_STPT_AI | T51_3_STPT | ABR_Central.Central.T51_3_STPT
AI | T51-3_STPT_AR |  | (NGC) | OMR_GW2.IDH.DM130 | DM130 | DM130 | CP_T51-3_STPT_AR | T51_3_STPT | ABR_Central.Central.T51_3_STPT
AI | T51-3_S_DERIVATIVE |  | (NGC) | OMR_GW2.IDH.DM2753 | DM2753 | DM2753 | CP_T51-3_S_DERIVATIVE | T51_3_S_DERIVATIVE | ABR_Central.Central.T51_3_S_DERIVATIVE
AI | T51-3_S_DERIVATIVE_AI |  |  | OMR_GW2.IDH.DM2753 | DM2753 | DM2753 | CP_T51-3_S_DERIVATIVE_AI | T51_3_S_DERIVATIVE | ABR_Central.Central.T51_3_S_DERIVATIVE
AI | T51-3_S_INTEGRAL |  | (NGC) | OMR_GW2.IDH.DM2752 | DM2752 | DM2752 | CP_T51-3_S_INTEGRAL | T51_3_S_INTEGRAL | ABR_Central.Central.T51_3_S_INTEGRAL
AI | T51-3_S_INTEGRAL_AI |  |  | OMR_GW2.IDH.DM2752 | DM2752 | DM2752 | CP_T51-3_S_INTEGRAL_AI | T51_3_S_INTEGRAL | ABR_Central.Central.T51_3_S_INTEGRAL
AI | T51-3_S_PROPORTIONAL |  | (NGC) | OMR_GW2.IDH.DM2751 | DM2751 | DM2751 | CP_T51-3_S_PROPORTIONAL | T51_3_S_PROPORTIONAL | ABR_Central.Central.T51_3_S_PROPORTIONAL
AI | T51-3_S_PROPORTIONAL_AI |  |  | OMR_GW2.IDH.DM2751 | DM2751 | DM2751 | CP_T51-3_S_PROPORTIONAL_AI | T51_3_S_PROPORTIONAL | ABR_Central.Central.T51_3_S_PROPORTIONAL
AI | T51-3_S_SAMPLING |  | (NGC) | OMR_GW2.IDH.DM2754 | DM2754 | DM2754 | CP_T51-3_S_SAMPLING | T51_3_S_SAMPLING | ABR_Central.Central.T51_3_S_SAMPLING
AI | T51-3_S_SAMPLING_AI |  |  | OMR_GW2.IDH.DM2754 | DM2754 | DM2754 | CP_T51-3_S_SAMPLING_AI | T51_3_S_SAMPLING | ABR_Central.Central.T51_3_S_SAMPLING
AI | T51-3_W_DERIVATIVE |  | (NGC) | OMR_GW2.IDH.DM2853 | DM2853 | DM2853 | CP_T51-3_W_DERIVATIVE | T51_3_W_DERIVATIVE | ABR_Central.Central.T51_3_W_DERIVATIVE
AI | T51-3_W_DERIVATIVE_AI |  |  | OMR_GW2.IDH.DM2853 | DM2853 | DM2853 | CP_T51-3_W_DERIVATIVE_AI | T51_3_W_DERIVATIVE | ABR_Central.Central.T51_3_W_DERIVATIVE
AI | T51-3_W_INTEGRAL |  | (NGC) | OMR_GW2.IDH.DM2852 | DM2852 | DM2852 | CP_T51-3_W_INTEGRAL | T51_3_W_INTEGRAL | ABR_Central.Central.T51_3_W_INTEGRAL
AI | T51-3_W_INTEGRAL_AI |  |  | OMR_GW2.IDH.DM2852 | DM2852 | DM2852 | CP_T51-3_W_INTEGRAL_AI | T51_3_W_INTEGRAL | ABR_Central.Central.T51_3_W_INTEGRAL
AI | T51-3_W_PROPORTIONAL |  | (NGC) | OMR_GW2.IDH.DM2851 | DM2851 | DM2851 | CP_T51-3_W_PROPORTIONAL | T51_3_W_PROPORTIONAL | ABR_Central.Central.T51_3_W_PROPORTIONAL
AI | T51-3_W_PROPORTIONAL_AI |  |  | OMR_GW2.IDH.DM2851 | DM2851 | DM2851 | CP_T51-3_W_PROPORTIONAL_AI | T51_3_W_PROPORTIONAL | ABR_Central.Central.T51_3_W_PROPORTIONAL
AI | T51-3_W_SAMPLING |  | (NGC) | OMR_GW2.IDH.DM2854 | DM2854 | DM2854 | CP_T51-3_W_SAMPLING | T51_3_W_SAMPLING | ABR_Central.Central.T51_3_W_SAMPLING
AI | T51-3_W_SAMPLING_AI |  |  | OMR_GW2.IDH.DM2854 | DM2854 | DM2854 | CP_T51-3_W_SAMPLING_AI | T51_3_W_SAMPLING | ABR_Central.Central.T51_3_W_SAMPLING
AI | DRI_CONT_P118_SP_AR |  | (NGC) p118 controller stpt ar | OMR_GW2.IDH.DM3501 | DM3501 | DM3501 | CP_DRI_CONT_P118_SP_AR | STER_P117_SETPOINT | ABR_Central.Central.STER_P117_SETPOINT
AI | DRI_CONT_P118_SP_AI |  | P118 CONTROLLER PV | OMR_GW2.IDH.DM3526 | DM3526 | DM3526 | CP_DRI_CONT_P118_SP_AI | DRI_CONT_P118_SP_AI | ABR_Central.Central.DRI_CONT_P118_SP_AI
AI | DRI_CONT_P118_PV |  | P118 CONTROLLER PV | OMR_GW2.IDH.DM3516 | DM3516 | DM3516 | CP_DRI_CONT_P118_PV | DRI_CONT_P118_PV | ABR_Central.Central.DRI_CONT_P118_PV
AI | DRI_CONT_P116_SP_AR |  | (NGC) p116 controller stpt ar | OMR_GW2.IDH.DM3500 | DM3500 | DM3500 | CP_DRI_CONT_P116_SP_AR | DRI_CONT_P116_SP_AO | ABR_Central.Central.DRI_CONT_P116_SP_AO
AI | DRI_CONT_P116_SP_AI |  | p116 controller stpt ai | OMR_GW2.IDH.DM3521 | DM3521 | DM3521 | CP_DRI_CONT_P116_SP_AI | DRI_CONT_P116_SP_AI | ABR_Central.Central.DRI_CONT_P116_SP_AI
AI | DRI_CONT_P116_PV |  | P116 CONTROLLER PV | OMR_GW2.IDH.DM3511 | DM3511 | DM3511 | CP_DRI_CONT_P116_PV | DRI_CONT_P116_PV | ABR_Central.Central.DRI_CONT_P116_PV
AI | DRIER_FLOW_STPT_EAST_CIP_AI |  |  | OMR_GW2.IDH.DM8@bcd | DM8@bcd | DM8 | CP_DRIER_FLOW_STPT_EAST_CIP_AI | DRIER_FLOW_STPT_EAST_CIP_AI | ABR_Central.Central.DRIER_FLOW_STPT_EAST_CIP_AI
AI | DRIER_FLOW_STPT_EAST_4TH_AI |  |  | OMR_GW2.IDH.DM6@bcd | DM6@bcd | DM6 | CP_DRIER_FLOW_STPT_EAST_4TH_AI | DRIER_FLOW_STPT_EAST_4TH_AI | ABR_Central.Central.DRIER_FLOW_STPT_EAST_4TH_AI
AI | DRIER_FLOW_STPT_EAST_3RD_AI |  |  | OMR_GW2.IDH.DM4@bcd | DM4@bcd | DM4 | CP_DRIER_FLOW_STPT_EAST_3RD_AI | DRIER_FLOW_STPT_EAST_3RD_AI | ABR_Central.Central.DRIER_FLOW_STPT_EAST_3RD_AI
AI | DRIER_FLOW_STPT_EAST_2ND_AI |  |  | OMR_GW2.IDH.DM2@bcd | DM2@bcd | DM2 | CP_DRIER_FLOW_STPT_EAST_2ND_AI | DRIER_FLOW_STPT_EAST_2ND_AI | ABR_Central.Central.DRIER_FLOW_STPT_EAST_2ND_AI
AI | DRIER_FLOW_STPT_EAST_1ST_AI |  |  | OMR_GW2.IDH.DM0@bcd | DM0@bcd | DM0 | CP_DRIER_FLOW_STPT_EAST_1ST_AI | DRIER_FLOW_STPT_EAST_1ST_AI | ABR_Central.Central.DRIER_FLOW_STPT_EAST_1ST_AI
AI | DRIER_FLOW_AI |  | Gelatin Flow to Chemetator | OMR_GW2.IDH.DM920 | DM920 | DM920 | CP_DRIER_FLOW_AI | CHEM_FLOW | ABR_Central.Central.CHEM_FLOW
AI | DRIER_EAST_FLOW_STPT_SLOW | DRIER_EAST_FLOW_STPT_SLOW_CA |  | OMR_GW2.IDH.DM900 | DM900 | DM900 | CP_DRIER_EAST_FLOW_STPT_SLOW | DRIER_EAST_FLOW_STPT | ABR_Central.Central.DRIER_EAST_FLOW_STPT
AI | DRIER_EAST_FLOW_STPT | DRIER_EAST_FLOW_STPT_TOTAL |  | OMR_GW2.IDH.DM900 | DM900 | DM900 | CP_DRIER_EAST_FLOW_STPT | DRIER_EAST_FLOW_STPT | ABR_Central.Central.DRIER_EAST_FLOW_STPT
AI | T51-5_DERIVATIVE |  | (NGC) | OMR_GW2.IDH.DM2703 | DM2703 | DM2703 | CP_T51-5_DERIVATIVE | T51_5_DERIVATIVE | ABR_Central.Central.T51_5_DERIVATIVE
AI | T51-5_DERIVATIVE_AI |  |  | OMR_GW2.IDH.DM2703 | DM2703 | DM2703 | CP_T51-5_DERIVATIVE_AI | T51_5_DERIVATIVE | ABR_Central.Central.T51_5_DERIVATIVE
AI | T51-5_INTEGRAL |  | (NGC) | OMR_GW2.IDH.DM2702 | DM2702 | DM2702 | CP_T51-5_INTEGRAL | T51_5_INTEGRAL | ABR_Central.Central.T51_5_INTEGRAL
AI | T51-5_INTEGRAL_AI |  |  | OMR_GW2.IDH.DM2702 | DM2702 | DM2702 | CP_T51-5_INTEGRAL_AI | T51_5_INTEGRAL | ABR_Central.Central.T51_5_INTEGRAL
AI | T51-5_PROPORTIONAL |  | (NGC) | OMR_GW2.IDH.DM2701 | DM2701 | DM2701 | CP_T51-5_PROPORTIONAL | T51_5_PROPORTIONAL | ABR_Central.Central.T51_5_PROPORTIONAL
AI | T51-5_PROPORTIONAL_AI |  |  | OMR_GW2.IDH.DM2701 | DM2701 | DM2701 | CP_T51-5_PROPORTIONAL_AI | T51_5_PROPORTIONAL | ABR_Central.Central.T51_5_PROPORTIONAL
AI | DRIER_COOK_AI | DRY_COOK_SEL_PASSTHRU |  | OMR_GW2.IDH.HR10 | HR10 | HR10 | CP_DRIER_COOK_AI | DRIER_COOK | ABR_Central.Central.DRIER_COOK
AI | DRIER_BATCH_NUM_AR |  | (NGC) drier batch number ar | OMR_GW2.IDH.DM913 | DM913 | DM913 | CP_DRIER_BATCH_NUM_AR | DRIER_BATCH_NUM | ABR_Central.Central.DRIER_BATCH_NUM
AI | DRIER_BATCH_NUM_AI |  | drier batch number ar | OMR_GW2.IDH.DM913 | DM913 | DM913 | CP_DRIER_BATCH_NUM_AI | DRIER_BATCH_NUM | ABR_Central.Central.DRIER_BATCH_NUM
AI | DRIER_BATCH_NUM |  | Drier Batch Number | OMR_GW2.IDH.DM913 | DM913 | DM913 | CP_DRIER_BATCH_NUM | DRIER_BATCH_NUM | ABR_Central.Central.DRIER_BATCH_NUM
AI | IDH_40M_VALVE_TIME_OFF |  | V2 Closed Time (minutes) | OMR_GW2.IDH.DM24@BCD | DM24@BCD | DM24 | CP_IDH_40M_VALVE_TIME_OFF | IDH_40M_VALVE_TIME_OFF | ABR_Central.Central.IDH_40M_VALVE_TIME_OFF
AI | IDH_40M_VALVE_TIME_ON |  | V2 Open Time (seconds) | OMR_GW2.IDH.DM27@BCD | DM27@BCD | DM27 | CP_IDH_40M_VALVE_TIME_ON | IDH_40M_VALVE_TIME_ON | ABR_Central.Central.IDH_40M_VALVE_TIME_ON
AI | IDH_40_7M_VALVE_TIME_OFF |  | V3 Closed Time (seconds) | OMR_GW2.IDH.DM33@BCD | DM33@BCD | DM33 | CP_IDH_40_7M_VALVE_TIME_OFF | IDH_40_7M_VALVE_TIME_OFF | ABR_Central.Central.IDH_40_7M_VALVE_TIME_OFF
AI | IDH_40_7M_VALVE_TIME_ON |  | V3 Open Time (seconds) | OMR_GW2.IDH.DM30@BCD | DM30@BCD | DM30 | CP_IDH_40_7M_VALVE_TIME_ON | IDH_40_7M_VALVE_TIME_ON | ABR_Central.Central.IDH_40_7M_VALVE_TIME_ON
AI | T51-5_SAMPLING |  | (NGC) | OMR_GW2.IDH.DM2704 | DM2704 | DM2704 | CP_T51-5_SAMPLING | T51_5_SAMPLING | ABR_Central.Central.T51_5_SAMPLING
AI | T51-5_SAMPLING_AI |  |  | OMR_GW2.IDH.DM2704 | DM2704 | DM2704 | CP_T51-5_SAMPLING_AI | T51_5_SAMPLING | ABR_Central.Central.T51_5_SAMPLING
AI | IDH_T51-3_DERIVATIVE |  | T51-3 DERIVATIVE | OMR_GW2.IDH.DM223@BCD | DM223@BCD | DM223 | CP_IDH_T51-3_DERIVATIVE | IDH_T51_3_DERIVATIVE | ABR_Central.Central.IDH_T51_3_DERIVATIVE
AI | T51-5_STPT_AI | T51-5_STPT_TO_BURNER |  | OMR_GW2.IDH.DM120 | DM120 | DM120 | CP_T51-5_STPT_AI | T51_5_STPT | ABR_Central.Central.T51_5_STPT
AI | IDH_T51-3_INTEGRAL |  | T51-3 INTEGRAL | OMR_GW2.IDH.DM222@BCD | DM222@BCD | DM222 | CP_IDH_T51-3_INTEGRAL | IDH_T51_3_INTEGRAL | ABR_Central.Central.IDH_T51_3_INTEGRAL
AI | IDH_T51-3_OUTPUT |  | T51-3 OUTPUT | OMR_GW2.IDH.DM260 | DM260 | DM260 | CP_IDH_T51-3_OUTPUT | IDH_T51_3_OUTPUT | ABR_Central.Central.IDH_T51_3_OUTPUT
AI | IDH_T51-3_PROPORTIONAL |  | T51-3 PROPORTIONAL | OMR_GW2.IDH.DM221@BCD | DM221@BCD | DM221 | CP_IDH_T51-3_PROPORTIONAL | IDH_T51_3_PROPORTIONAL | ABR_Central.Central.IDH_T51_3_PROPORTIONAL
AI | T51-5_STPT_AR |  | (NGC) | OMR_GW2.IDH.DM120 | DM120 | DM120 | CP_T51-5_STPT_AR | T51_5_STPT | ABR_Central.Central.T51_5_STPT
AI | IDH_T51-3_SAMPLE |  | T51-3 SAMPLE PERIOD | OMR_GW2.IDH.DM224 | DM224 | DM224 | CP_IDH_T51-3_SAMPLE | IDH_T51_3_SAMPLE | ABR_Central.Central.IDH_T51_3_SAMPLE
AI | T51-12_DERIVATIVE |  | (NGC) | OMR_GW2.IDH.DM2803 | DM2803 | DM2803 | CP_T51-12_DERIVATIVE | T51_12_DERIVATIVE | ABR_Central.Central.T51_12_DERIVATIVE
AI | T51-12_DERIVATIVE_AI |  |  | OMR_GW2.IDH.DM2803 | DM2803 | DM2803 | CP_T51-12_DERIVATIVE_AI | T51_12_DERIVATIVE | ABR_Central.Central.T51_12_DERIVATIVE
AI | T51-12_INTEGRAL |  | (NGC) | OMR_GW2.IDH.DM2802 | DM2802 | DM2802 | CP_T51-12_INTEGRAL | T51_12_INTEGRAL | ABR_Central.Central.T51_12_INTEGRAL
AI | T51-12_INTEGRAL_AI |  |  | OMR_GW2.IDH.DM2802 | DM2802 | DM2802 | CP_T51-12_INTEGRAL_AI | T51_12_INTEGRAL | ABR_Central.Central.T51_12_INTEGRAL
AI | T51-12_OUTPUT_RAW | T51-12_OUT_PID_CA |  | OMR_GW2.IDH.IR105 | IR105 | IR105 | CP_T51-12_OUTPUT_RAW | IDH_ADDR_105 | ABR_Central.Central.IDH_ADDR_105
AI | T51-12_PROPORTIONAL |  | (NGC) | OMR_GW2.IDH.DM2801 | DM2801 | DM2801 | CP_T51-12_PROPORTIONAL | T51_12_PROPORTIONAL | ABR_Central.Central.T51_12_PROPORTIONAL
AI | T51-12_PROPORTIONAL_AI |  |  | OMR_GW2.IDH.DM2801 | DM2801 | DM2801 | CP_T51-12_PROPORTIONAL_AI | T51_12_PROPORTIONAL | ABR_Central.Central.T51_12_PROPORTIONAL
AI | T51-12_SAMPLING |  | (NGC) | OMR_GW2.IDH.DM2804 | DM2804 | DM2804 | CP_T51-12_SAMPLING | T51_12_SAMPLING | ABR_Central.Central.T51_12_SAMPLING
AI | T51-12_SAMPLING_AI |  |  | OMR_GW2.IDH.DM2804 | DM2804 | DM2804 | CP_T51-12_SAMPLING_AI | T51_12_SAMPLING | ABR_Central.Central.T51_12_SAMPLING
AI | T51-12_STPT_AI |  |  | OMR_GW2.IDH.DM140 | DM140 | DM140 | CP_T51-12_STPT_AI | T51_12_STPT_AO | ABR_Central.Central.T51_12_STPT_AO
AI | T51-12_STPT_AR |  | (NGC) | OMR_GW2.IDH.DM140 | DM140 | DM140 | CP_T51-12_STPT_AR | T51_12_STPT_AO | ABR_Central.Central.T51_12_STPT_AO
AI | CC3_OUTPUT |  | CC3 Cooling Valve Output | OMR_GW2.IDH.DM5211@BCD | DM5211@BCD | DM5211 | CP_CC3_OUTPUT | CC3_OUTPUT | ABR_Central.Central.CC3_OUTPUT
AI | CC3_TEMPERATURE | CC3_TEMPERATURE_CA | IDH Outlet Temperature | OMR_GW2.IDH.DM5209@BCD | DM5209@BCD | DM5209 | CP_CC3_TEMPERATURE | CC3_TEMPERATURE | ABR_Central.Central.CC3_TEMPERATURE
AI | STER_P66_SETPOINT |  | P66 Speed Setpoint | OMR_GW2.IDH.DM3499@BCD | DM3499@BCD | DM3499 | CP_STER_P66_SETPOINT | STER_P66_SETPOINT | ABR_Central.Central.STER_P66_SETPOINT
AI | CHEM_DRIER_FLOWRATE_STPT |  | DRIER FLOWRATE SETPOINT | OMR_GW2.IDH.DM900@bcd | DM900@bcd | DM900 | CP_CHEM_DRIER_FLOWRATE_STPT | DRIER_EAST_FLOW_STPT | ABR_Central.Central.DRIER_EAST_FLOW_STPT
AI | CHEM_FLOW | CHEM_FLOW_AVG | CHEMETATOR FLOW | OMR_GW2.IDH.DM920 | DM920 | DM920 | CP_CHEM_FLOW | CHEM_FLOW | ABR_Central.Central.CHEM_FLOW
AI | CHEM_FLOW_PASSTHRU | CHEM_FLOW_PASSTHRU_OUT | CHEMETATOR FLOW | OMR_GW2.IDH.DM920@BCD | DM920@BCD | DM920 | CP_CHEM_FLOW_PASSTHRU | CHEM_FLOW | ABR_Central.Central.CHEM_FLOW
AI | IDH_SATAKE_COUNTER_PV |  | SATAKE Counter Value | OMR_GW2.IDH.DM10@BCD | DM10@BCD | DM10 | CP_IDH_SATAKE_COUNTER_PV | IDH_SATAKE_COUNTER_PV | ABR_Central.Central.IDH_SATAKE_COUNTER_PV
AI | STER_P117_SETPOINT |  | P117 Speed Setpoint | OMR_GW2.IDH.DM3501@BCD | DM3501@BCD | DM3501 | CP_STER_P117_SETPOINT | STER_P117_SETPOINT | ABR_Central.Central.STER_P117_SETPOINT
AO | CC3_SETPOINT_AO |  | CC3 Setpoint Out | OMR_GW2.IDH.DM5215@BCD | DM5215@BCD | DM5215 | CP_CC3_SETPOINT_AO | CC3_SETPOINT_AO | ABR_Central.Central.CC3_SETPOINT_AO
AO | T51-12_STPT_AO |  |  | OMR_GW2.IDH.DM140 | DM140 | DM140 | CP_T51-12_STPT_AO | T51_12_STPT_AO | ABR_Central.Central.T51_12_STPT_AO
AO | T51-12_SAMPLING_AO |  |  | OMR_GW2.IDH.DM2804 | DM2804 | DM2804 | CP_T51-12_SAMPLING_AO | T51_12_SAMPLING | ABR_Central.Central.T51_12_SAMPLING
AO | T51-12_PROPORTIONAL_AO |  |  | OMR_GW2.IDH.DM2801 | DM2801 | DM2801 | CP_T51-12_PROPORTIONAL_AO | T51_12_PROPORTIONAL | ABR_Central.Central.T51_12_PROPORTIONAL
AO | T51-12_PID_OUTPUT_FORCE_TEST_R |  | FORCE GLYOL TEMP CONT VALVE (PID MAN ON) | OMR_GW2.IDH.IR105 | IR105 | IR105 | CP_T51-12_PID_OUTPUT_FORCE_TEST_R | IDH_ADDR_105 | ABR_Central.Central.IDH_ADDR_105
AO | T51-12_PID_OUTPUT_FORCE |  | FORCE GLYOL TEMP CONT VALVE (PID MAN ON) | OMR_GW2.IDH.IR105 | IR105 | IR105 | CP_T51-12_PID_OUTPUT_FORCE | IDH_ADDR_105 | ABR_Central.Central.IDH_ADDR_105
AO | T51-12_MAN_OUTPUT |  | T51-12 MANUAL OUTPUT (AV51-2) | OMR_GW2.IDH.DM141 | DM141 | DM141 | CP_T51-12_MAN_OUTPUT | T51_12_MAN_OUTPUT | ABR_Central.Central.T51_12_MAN_OUTPUT
AO | T51-12_INTEGRAL_AO |  |  | OMR_GW2.IDH.DM2802 | DM2802 | DM2802 | CP_T51-12_INTEGRAL_AO | T51_12_INTEGRAL | ABR_Central.Central.T51_12_INTEGRAL
AO | T51-12_DERIVATIVE_AO |  |  | OMR_GW2.IDH.DM2803 | DM2803 | DM2803 | CP_T51-12_DERIVATIVE_AO | T51_12_DERIVATIVE | ABR_Central.Central.T51_12_DERIVATIVE
AO | T51-5_STPT_AO |  |  | OMR_GW2.IDH.DM120 | DM120 | DM120 | CP_T51-5_STPT_AO | T51_5_STPT | ABR_Central.Central.T51_5_STPT
AO | T51-5_SAMPLING_AO |  |  | OMR_GW2.IDH.DM2704 | DM2704 | DM2704 | CP_T51-5_SAMPLING_AO | T51_5_SAMPLING | ABR_Central.Central.T51_5_SAMPLING
AO | DRIER_BATCH_NUM_AO |  | drier batch number ao | OMR_GW2.IDH.DM913 | DM913 | DM913 | CP_DRIER_BATCH_NUM_AO | DRIER_BATCH_NUM | ABR_Central.Central.DRIER_BATCH_NUM
AO | DRIER_COOK |  |  | OMR_GW2.IDH.HR10 | HR10 | HR10 | CP_DRIER_COOK | DRIER_COOK | ABR_Central.Central.DRIER_COOK
AO | T51-5_PROPORTIONAL_AO |  |  | OMR_GW2.IDH.DM2701 | DM2701 | DM2701 | CP_T51-5_PROPORTIONAL_AO | T51_5_PROPORTIONAL | ABR_Central.Central.T51_5_PROPORTIONAL
AO | T51-5_PID_OUTPUT_FORCE |  | FORCE REGEN FAN (PID MAN ON) | OMR_GW2.IDH.IR103 | IR103 | IR103 | CP_T51-5_PID_OUTPUT_FORCE | IDH_ADDR_103 | ABR_Central.Central.IDH_ADDR_103
AO | T51-5_INTEGRAL_AO |  |  | OMR_GW2.IDH.DM2702 | DM2702 | DM2702 | CP_T51-5_INTEGRAL_AO | T51_5_INTEGRAL | ABR_Central.Central.T51_5_INTEGRAL
AO | T51-5_DERIVATIVE_AO |  |  | OMR_GW2.IDH.DM2703 | DM2703 | DM2703 | CP_T51-5_DERIVATIVE_AO | T51_5_DERIVATIVE | ABR_Central.Central.T51_5_DERIVATIVE
AO | DRIER_FROM_STER_CIP_STEP |  |  | OMR_GW2.IDH.DM910 | DM910 | DM910 | CP_DRIER_FROM_STER_CIP_STEP | DRIER_FROM_STER_CIP_STEP | ABR_Central.Central.DRIER_FROM_STER_CIP_STEP
AO | T51-3_W_SAMPLING_AO |  |  | OMR_GW2.IDH.DM2854 | DM2854 | DM2854 | CP_T51-3_W_SAMPLING_AO | T51_3_W_SAMPLING | ABR_Central.Central.T51_3_W_SAMPLING
AO | DRI_CONT_P116_SP_AO |  | p116 controller stpt ao | OMR_GW2.IDH.DM3500 | DM3500 | DM3500 | CP_DRI_CONT_P116_SP_AO | DRI_CONT_P116_SP_AO | ABR_Central.Central.DRI_CONT_P116_SP_AO
AO | DRI_CONT_P118_SP_AO |  | p118 controller stpt ao | OMR_GW2.IDH.DM3501 | DM3501 | DM3501 | CP_DRI_CONT_P118_SP_AO | STER_P117_SETPOINT | ABR_Central.Central.STER_P117_SETPOINT
AO | T51-3_W_PROPORTIONAL_AO |  |  | OMR_GW2.IDH.DM2851 | DM2851 | DM2851 | CP_T51-3_W_PROPORTIONAL_AO | T51_3_W_PROPORTIONAL | ABR_Central.Central.T51_3_W_PROPORTIONAL
AO | T51-3_W_PID_OUTPUT_FORCE |  | FORCE CC1 CONTROL VALVE WINT(PID MAN ON) | OMR_GW2.IDH.IR106 | IR106 | IR106 | CP_T51-3_W_PID_OUTPUT_FORCE | T51_3_W_PID_OUTPUT_FORCE | ABR_Central.Central.T51_3_W_PID_OUTPUT_FORCE
AO | T51-3_W_INTEGRAL_AO |  |  | OMR_GW2.IDH.DM2852 | DM2852 | DM2852 | CP_T51-3_W_INTEGRAL_AO | T51_3_W_INTEGRAL | ABR_Central.Central.T51_3_W_INTEGRAL
AO | T51-3_W_DERIVATIVE_AO |  |  | OMR_GW2.IDH.DM2853 | DM2853 | DM2853 | CP_T51-3_W_DERIVATIVE_AO | T51_3_W_DERIVATIVE | ABR_Central.Central.T51_3_W_DERIVATIVE
AO | T51-3_S_SAMPLING_AO |  |  | OMR_GW2.IDH.DM2754 | DM2754 | DM2754 | CP_T51-3_S_SAMPLING_AO | T51_3_S_SAMPLING | ABR_Central.Central.T51_3_S_SAMPLING
AO | T51-3_S_PROPORTIONAL_AO |  |  | OMR_GW2.IDH.DM2751 | DM2751 | DM2751 | CP_T51-3_S_PROPORTIONAL_AO | T51_3_S_PROPORTIONAL | ABR_Central.Central.T51_3_S_PROPORTIONAL
AO | T51-3_S_PID_OUTPUT_FORCE |  | FORCE CC3 CONTROL VALVE SUMM(PID MAN ON) | OMR_GW2.IDH.IR104 | IR104 | IR104 | CP_T51-3_S_PID_OUTPUT_FORCE | IDH_ADDR_104 | ABR_Central.Central.IDH_ADDR_104
AO | T51-3_S_INTEGRAL_AO |  |  | OMR_GW2.IDH.DM2752 | DM2752 | DM2752 | CP_T51-3_S_INTEGRAL_AO | T51_3_S_INTEGRAL | ABR_Central.Central.T51_3_S_INTEGRAL
AO | T51-3_S_DERIVATIVE_AO |  |  | OMR_GW2.IDH.DM2753 | DM2753 | DM2753 | CP_T51-3_S_DERIVATIVE_AO | T51_3_S_DERIVATIVE | ABR_Central.Central.T51_3_S_DERIVATIVE
AO | T51-3_STPT_AO |  |  | OMR_GW2.IDH.DM130 | DM130 | DM130 | CP_T51-3_STPT_AO | T51_3_STPT | ABR_Central.Central.T51_3_STPT
AO | T51-2_STPT_AO |  |  | OMR_GW2.IDH.DM110 | DM110 | DM110 | CP_T51-2_STPT_AO | T51_2_STPT | ABR_Central.Central.T51_2_STPT
AO | T51-2_SAMPLING_AO |  |  | OMR_GW2.IDH.DM2654 | DM2654 | DM2654 | CP_T51-2_SAMPLING_AO | T51_2_SAMPLING | ABR_Central.Central.T51_2_SAMPLING
AO | T51-2_PROPORTIONAL_AO |  |  | OMR_GW2.IDH.DM2651 | DM2651 | DM2651 | CP_T51-2_PROPORTIONAL_AO | T51_2_PROPORTIONAL | ABR_Central.Central.T51_2_PROPORTIONAL
AO | T51-2_PID_OUTPUT_FORCE |  | FORCE CC2 CONTROL VALVE (PID MAN ON) | OMR_GW2.IDH.IR102 | IR102 | IR102 | CP_T51-2_PID_OUTPUT_FORCE | IDH_ADDR_102 | ABR_Central.Central.IDH_ADDR_102
AO | T51-2_INTEGRAL_AO |  |  | OMR_GW2.IDH.DM2652 | DM2652 | DM2652 | CP_T51-2_INTEGRAL_AO | T51_2_INTEGRAL | ABR_Central.Central.T51_2_INTEGRAL
AO | T51-2_DERIVATIVE_AO |  |  | OMR_GW2.IDH.DM2653 | DM2653 | DM2653 | CP_T51-2_DERIVATIVE_AO | T51_2_DERIVATIVE | ABR_Central.Central.T51_2_DERIVATIVE
AO | T51-1_SETPT_AO |  |  | OMR_GW2.IDH.DM100 | DM100 | DM100 | CP_T51-1_SETPT_AO | T51_1_STPT | ABR_Central.Central.T51_1_STPT
AO | T51-1_SAMPLING_AO |  |  | OMR_GW2.IDH.DM2604 | DM2604 | DM2604 | CP_T51-1_SAMPLING_AO | T51_1_SAMPLING | ABR_Central.Central.T51_1_SAMPLING
AO | T51-1_PID_OUTPUT_FORCE |  | FORCE CC1 CONTROL VALVE (PID MAN ON) | OMR_GW2.IDH.IR101 | IR101 | IR101 | CP_T51-1_PID_OUTPUT_FORCE | IDH_ADDR_101 | ABR_Central.Central.IDH_ADDR_101
AO | T51-1_INTEGRAL_AO |  |  | OMR_GW2.IDH.DM2602 | DM2602 | DM2602 | CP_T51-1_INTEGRAL_AO | T51_1_INTEGRAL | ABR_Central.Central.T51_1_INTEGRAL
AO | T51-1_DERIVATIVE_AO |  |  | OMR_GW2.IDH.DM2603 | DM2603 | DM2603 | CP_T51-1_DERIVATIVE_AO | T51_1_DERIVATIVE | ABR_Central.Central.T51_1_DERIVATIVE
AO | T-51-1_PROPORTIONAL_AO |  |  | OMR_GW2.IDH.DM2601 | DM2601 | DM2601 | CP_T-51-1_PROPORTIONAL_AO | T_51_1_PROPORTIONAL | ABR_Central.Central.T_51_1_PROPORTIONAL
DI | DRI_EAST_OSC_ARM_ON | DRI_EAST_OSC_ARM_ON_TIMESTAMP |  | OMR_GW2.IDH.HR1.0 | HR1.0 | HR1.0 | CP_DRI_EAST_OSC_ARM_ON | DRI_EAST_OSC_ARM_ON | ABR_Central.Central.DRI_EAST_OSC_ARM_ON
DI | DRI_EAST_OSC_ARM_OFF | DRI_EAST_OSC_ARM_OFF_TIMESTAMP |  | OMR_GW2.IDH.HR1.0 | HR1.0 | HR1.0 | CP_DRI_EAST_OSC_ARM_OFF | DRI_EAST_OSC_ARM_ON | ABR_Central.Central.DRI_EAST_OSC_ARM_ON
DI | DRIER_FLOW_PULSE_IN | DRIER_FLOW_PULSE_OUT | Pulse from Flowmeter to SCADA | OMR_GW2.IDH.IR500.05 | IR500.05 | IR500.05 | CP_DRIER_FLOW_PULSE_IN | DRIER_FLOW_PULSE_IN | ABR_Central.Central.DRIER_FLOW_PULSE_IN
DI | DRIER_FLAG_EAST_CIP |  |  | OMR_GW2.IDH.IR0.8 | IR0.8 | IR0.8 | CP_DRIER_FLAG_EAST_CIP | DRIER_FLAG_EAST_CIP | ABR_Central.Central.DRIER_FLAG_EAST_CIP
DI | DRIER_FLAG_EAST_4TH |  |  | OMR_GW2.IDH.IR0.6 | IR0.6 | IR0.6 | CP_DRIER_FLAG_EAST_4TH | DRIER_FLAG_EAST_4TH | ABR_Central.Central.DRIER_FLAG_EAST_4TH
DI | DRIER_FLAG_EAST_3RD |  |  | OMR_GW2.IDH.IR0.4 | IR0.4 | IR0.4 | CP_DRIER_FLAG_EAST_3RD | DRIER_FLAG_EAST_3RD | ABR_Central.Central.DRIER_FLAG_EAST_3RD
DI | DRIER_FLAG_EAST_2ND |  |  | OMR_GW2.IDH.IR0.2 | IR0.2 | IR0.2 | CP_DRIER_FLAG_EAST_2ND | DRIER_FLAG_EAST_2ND | ABR_Central.Central.DRIER_FLAG_EAST_2ND
DI | DRIER_FLAG_EAST_1ST |  |  | OMR_GW2.IDH.IR0.0 | IR0.0 | IR0.0 | CP_DRIER_FLAG_EAST_1ST | DRIER_FLAG_EAST_1ST | ABR_Central.Central.DRIER_FLAG_EAST_1ST
DI | STERILIZER_OZONE_ALM2 |  | Sterilizer Ozone Trouble Alarm | OMR_GW2.IDH.IR501.15 | IR501.15 | IR501.15 | CP_STERILIZER_OZONE_ALM2 | STERILIZER_OZONE_ALM2 | ABR_Central.Central.STERILIZER_OZONE_ALM2
DI | STERILIZER_OZONE_ALM |  | Sterilizer Ozone Leak Alarm | OMR_GW2.IDH.IR501.11 | IR501.11 | IR501.11 | CP_STERILIZER_OZONE_ALM | STERILIZER_OZONE_ALM | ABR_Central.Central.STERILIZER_OZONE_ALM
DI | CHILLER1_COMP1 |  |  | OMR_GW2.IDH.IR42.1 | IR42.1 | IR42.1 | CP_CHILLER1_COMP1 | CHILLER1_COMP1 | ABR_Central.Central.CHILLER1_COMP1
DI | CHEMETATOR_CIP_LOW_FLOW_ALARM |  | CHEMETATOR CIP LOW FLOW ALARM | OMR_GW2.IDH.IR120.13 | IR120.13 | IR120.13 | CP_CHEMETATOR_CIP_LOW_FLOW_ALARM | CHEMETATOR_CIP_LOW_FLOW_ALARM | ABR_Central.Central.CHEMETATOR_CIP_LOW_FLOW_ALARM
DI | T51_12_SUMMER_WINTER |  | T51-12 Summer Winter Selection | OMR_GW2.IDH.HR1.8 | HR1.8 | HR1.8 | CP_T51_12_SUMMER_WINTER | T51_12_SUMMER_WINTER | ABR_Central.Central.T51_12_SUMMER_WINTER
DI | T51-12_PID_LOOP_STATUS_DI |  |  | OMR_GW2.IDH.HR1.6 | HR1.6 | HR1.6 | CP_T51-12_PID_LOOP_STATUS_DI | T51_12_PID_LOOP_STATUS | ABR_Central.Central.T51_12_PID_LOOP_STATUS
DI | T51-12_PID_LOOP_STATUS |  | (NGC) | OMR_GW2.IDH.HR1.6 | HR1.6 | HR1.6 | CP_T51-12_PID_LOOP_STATUS | T51_12_PID_LOOP_STATUS | ABR_Central.Central.T51_12_PID_LOOP_STATUS
DI | IDH_T51-3_PID_AUTO_MAN |  | T51-3 AUTO/MAN | OMR_GW2.IDH.HR1.09 | HR1.09 | HR1.09 | CP_IDH_T51-3_PID_AUTO_MAN | IDH_T51_3_PID_AUTO_MAN | ABR_Central.Central.IDH_T51_3_PID_AUTO_MAN
DI | IDH_40M_MODIFIED |  | Modified 40M Selection | OMR_GW2.IDH.IR501.05 | IR501.05 | IR501.05 | CP_IDH_40M_MODIFIED | SWECO_40MESH_S_SELECTION | ABR_Central.Central.SWECO_40MESH_S_SELECTION
DI | T51-5_PID_LOOP_STATUS_DI |  |  | OMR_GW2.IDH.HR1.4 | HR1.4 | HR1.4 | CP_T51-5_PID_LOOP_STATUS_DI | T51_5_PID_LOOP_STATUS | ABR_Central.Central.T51_5_PID_LOOP_STATUS
DI | T51-3_W_PID_LOOP_STATUS_DI |  |  | OMR_GW2.IDH.HR1.7 | HR1.7 | HR1.7 | CP_T51-3_W_PID_LOOP_STATUS_DI | T51_3_W_PID_LOOP_STATUS | ABR_Central.Central.T51_3_W_PID_LOOP_STATUS
DI | T51-3_W_PID_LOOP_STATUS |  | (NGC) | OMR_GW2.IDH.HR1.7 | HR1.7 | HR1.7 | CP_T51-3_W_PID_LOOP_STATUS | T51_3_W_PID_LOOP_STATUS | ABR_Central.Central.T51_3_W_PID_LOOP_STATUS
DI | T51-3_S_PID_LOOP_STATUS_DI |  |  | OMR_GW2.IDH.HR1.5 | HR1.5 | HR1.5 | CP_T51-3_S_PID_LOOP_STATUS_DI | T51_3_S_PID_LOOP_STATUS | ABR_Central.Central.T51_3_S_PID_LOOP_STATUS
DI | T51-3_S_PID_LOOP_STATUS |  | (NGC) | OMR_GW2.IDH.HR1.5 | HR1.5 | HR1.5 | CP_T51-3_S_PID_LOOP_STATUS | T51_3_S_PID_LOOP_STATUS | ABR_Central.Central.T51_3_S_PID_LOOP_STATUS
DI | T51-2_PID_LOOP_STATUS_DI |  |  | OMR_GW2.IDH.HR1.3 | HR1.3 | HR1.3 | CP_T51-2_PID_LOOP_STATUS_DI | T51_2_PID_LOOP_STATUS | ABR_Central.Central.T51_2_PID_LOOP_STATUS
DI | T51-2_PID_LOOP_STATUS |  | (NGC) | OMR_GW2.IDH.HR1.3 | HR1.3 | HR1.3 | CP_T51-2_PID_LOOP_STATUS | T51_2_PID_LOOP_STATUS | ABR_Central.Central.T51_2_PID_LOOP_STATUS
DI | T51-1_PID_LOOP_STATUS_DI |  |  | OMR_GW2.IDH.HR1.2 | HR1.2 | HR1.2 | CP_T51-1_PID_LOOP_STATUS_DI | T51_1_PID_LOOP_STATUS | ABR_Central.Central.T51_1_PID_LOOP_STATUS
DI | T51-1_PID_LOOP_STATUS |  | (NGC) | OMR_GW2.IDH.HR1.2 | HR1.2 | HR1.2 | CP_T51-1_PID_LOOP_STATUS | T51_1_PID_LOOP_STATUS | ABR_Central.Central.T51_1_PID_LOOP_STATUS
DI | SWECO_7MESH_INDICATION | SWECO_7MESH_SEL_TDS |  | OMR_GW2.IDH.IR501.00 | IR501.00 | IR501.00 | CP_SWECO_7MESH_INDICATION | SWECO_7MESH_INDICATION | ABR_Central.Central.SWECO_7MESH_INDICATION
DI | SWECO_7MESH_SELECTION |  |  | OMR_GW2.IDH.IR500.06 | IR500.06 | IR500.06 | CP_SWECO_7MESH_SELECTION | SWECO_7MESH_SELECTION | ABR_Central.Central.SWECO_7MESH_SELECTION
DI | SWECO_8MESH_INDICATION | SWECO_8MESH_SEL_TDS |  | OMR_GW2.IDH.IR501.01 | IR501.01 | IR501.01 | CP_SWECO_8MESH_INDICATION | SWECO_8MESH_INDICATION | ABR_Central.Central.SWECO_8MESH_INDICATION
DI | SWECO_8MESH_SELECTION |  |  | OMR_GW2.IDH.IR500.07 | IR500.07 | IR500.07 | CP_SWECO_8MESH_SELECTION | SWECO_8MESH_SELECTION | ABR_Central.Central.SWECO_8MESH_SELECTION
DI | SWECO_8MESH_S_INDICATION | SWECO_8MESH_S_SEL_TDS |  | OMR_GW2.IDH.IR501.10 | IR501.10 | IR501.10 | CP_SWECO_8MESH_S_INDICATION | SWECO_8MESH_S_INDICATION | ABR_Central.Central.SWECO_8MESH_S_INDICATION
DI | SWECO_8MESH_S_SELECTION |  |  | OMR_GW2.IDH.IR501.08 | IR501.08 | IR501.08 | CP_SWECO_8MESH_S_SELECTION | SWECO_8MESH_S_SELECTION | ABR_Central.Central.SWECO_8MESH_S_SELECTION
DI | SWECO_20MESH_INDICATION | SWECO_20MESH_SEL_TDS |  | OMR_GW2.IDH.IR501.02 | IR501.02 | IR501.02 | CP_SWECO_20MESH_INDICATION | SWECO_20MESH_INDICATION | ABR_Central.Central.SWECO_20MESH_INDICATION
DI | SWECO_20MESH_SELECTION |  |  | OMR_GW2.IDH.IR500.08 | IR500.08 | IR500.08 | CP_SWECO_20MESH_SELECTION | SWECO_20MESH_SELECTION | ABR_Central.Central.SWECO_20MESH_SELECTION
DI | SWECO_40MESH_INDICATION | SWECO_40MESH_SEL_TDS | SWECO 40/20M Indication | OMR_GW2.IDH.IR501.03 | IR501.03 | IR501.03 | CP_SWECO_40MESH_INDICATION | SWECO_40MESH_INDICATION | ABR_Central.Central.SWECO_40MESH_INDICATION
DI | SWECO_40MESH_SELECTION |  |  | OMR_GW2.IDH.IR500.09 | IR500.09 | IR500.09 | CP_SWECO_40MESH_SELECTION | SWECO_40MESH_SELECTION | ABR_Central.Central.SWECO_40MESH_SELECTION
DI | SWECO_40MESH_S_INDICATION | SWECO_40MESH_S_SEL_TDS | SWECO 40/7M Indication | OMR_GW2.IDH.IR501.07 | IR501.07 | IR501.07 | CP_SWECO_40MESH_S_INDICATION | SWECO_40MESH_S_INDICATION | ABR_Central.Central.SWECO_40MESH_S_INDICATION
DI | SWECO_40MESH_S_SELECTION |  |  | OMR_GW2.IDH.IR501.05 | IR501.05 | IR501.05 | CP_SWECO_40MESH_S_SELECTION | SWECO_40MESH_S_SELECTION | ABR_Central.Central.SWECO_40MESH_S_SELECTION
DI | SWECO_REGRINDING_INDICATION | SWECO_REGRIND_SEL_TDS |  | OMR_GW2.IDH.IR502.05 | IR502.05 | IR502.05 | CP_SWECO_REGRINDING_INDICATION | SWECO_REGRINDING_INDICATION | ABR_Central.Central.SWECO_REGRINDING_INDICATION
DI | SWECO_REGRINDING_SELECTION |  |  | OMR_GW2.IDH.IR502.03 | IR502.03 | IR502.03 | CP_SWECO_REGRINDING_SELECTION | SWECO_REGRINDING_SELECTION | ABR_Central.Central.SWECO_REGRINDING_SELECTION
DI | SWECO_VALVE_1 |  | N/C TO FINE GRINDER | OMR_GW2.IDH.IR39.08 | IR39.08 | IR39.08 | CP_SWECO_VALVE_1 | SWECO_VALVE_1 | ABR_Central.Central.SWECO_VALVE_1
DI | SWECO_VALVE_2 |  | N/O TO 7 MESH | OMR_GW2.IDH.IR39.09 | IR39.09 | IR39.09 | CP_SWECO_VALVE_2 | SWECO_VALVE_2 | ABR_Central.Central.SWECO_VALVE_2
DI | SWECO_VALVE_3 |  | N/O TO 7 MESH | OMR_GW2.IDH.IR39.10 | IR39.10 | IR39.10 | CP_SWECO_VALVE_3 | SWECO_VALVE_3 | ABR_Central.Central.SWECO_VALVE_3
DI | SWECO_VALVE_4 |  | N/C TO FINE GRINDER | OMR_GW2.IDH.IR39.11 | IR39.11 | IR39.11 | CP_SWECO_VALVE_4 | SWECO_VALVE_4 | ABR_Central.Central.SWECO_VALVE_4
DI | SWECO_WALTER_MESH_INDICATION | SWECO_WALTER_SEL_TDS |  | OMR_GW2.IDH.IR501.14 | IR501.14 | IR501.14 | CP_SWECO_WALTER_MESH_INDICATION | SWECO_WALTER_MESH_INDICATION | ABR_Central.Central.SWECO_WALTER_MESH_INDICATION
DI | SWECO_WALTER_MESH_SELECTION |  |  | OMR_GW2.IDH.IR501.12 | IR501.12 | IR501.12 | CP_SWECO_WALTER_MESH_SELECTION | SWECO_WALTER_MESH_SELECTION | ABR_Central.Central.SWECO_WALTER_MESH_SELECTION
DI | IDH_SATAKE_CNTR_STOP |  | SATAKE Counter Status | OMR_GW2.IDH.IR503.11 | IR503.11 | IR503.11 | CP_IDH_SATAKE_CNTR_STOP | IDH_SATAKE_CNTR_STOP | ABR_Central.Central.IDH_SATAKE_CNTR_STOP
DI | IDH_SATAKE_SILENCE_PB |  | SATAKE Alarm Silence P.B. | OMR_GW2.IDH.IR503.04 | IR503.04 | IR503.04 | CP_IDH_SATAKE_SILENCE_PB | IDH_SATAKE_SILENCE_PB | ABR_Central.Central.IDH_SATAKE_SILENCE_PB
DI | IDH_SATAKE_STOP_BELT | DRY_STOP_COMIL_FROM_SATAKE | SATAKE Command to Stop Comil | OMR_GW2.IDH.IR503.07 | IR503.07 | IR503.07 | CP_IDH_SATAKE_STOP_BELT | IDH_SATAKE_STOP_BELT | ABR_Central.Central.IDH_SATAKE_STOP_BELT
DI | IDH_SATAKE_CNTR_STOP_PB |  | SATAKE Counter Stop and Reset P.B. | OMR_GW2.IDH.IR503.08 | IR503.08 | IR503.08 | CP_IDH_SATAKE_CNTR_STOP_PB | IDH_SATAKE_CNTR_STOP_PB | ABR_Central.Central.IDH_SATAKE_CNTR_STOP_PB
DI | IDH_SATAKE_SILENCE |  | SATAKE Alarm Silence Status | OMR_GW2.IDH.IR503.10 | IR503.10 | IR503.10 | CP_IDH_SATAKE_SILENCE | IDH_SATAKE_SILENCE | ABR_Central.Central.IDH_SATAKE_SILENCE
DI | IDH_SATAKE_CNTR_RESET_PB |  | SATAKE Counter Reset PB | OMR_GW2.IDH.IR503.06 | IR503.06 | IR503.06 | CP_IDH_SATAKE_CNTR_RESET_PB | IDH_SATAKE_CNTR_RESET_PB | ABR_Central.Central.IDH_SATAKE_CNTR_RESET_PB
DI | IDH_SATAKE_BYPASS_MODE |  | SATAKE Bypass Mode - Prevent Comil Stopping on LSHH1 | OMR_GW2.IDH.IR503.12 | IR503.12 | IR503.12 | CP_IDH_SATAKE_BYPASS_MODE | IDH_SATAKE_BYPASS_MODE | ABR_Central.Central.IDH_SATAKE_BYPASS_MODE
DI | INTAKE_BOTTOM_CLOSED |  | Intake bottom valve closed feedback | OMR_GW2.IDH.IR44.08 | IR44.08 | IR44.08 | CP_INTAKE_BOTTOM_CLOSED | INTAKE_BOTTOM_CLOSED | ABR_Central.Central.INTAKE_BOTTOM_CLOSED
DI | INTAKE_MIDDLE_CLOSED |  | Intake middle valve closed feedback | OMR_GW2.IDH.IR44.09 | IR44.09 | IR44.09 | CP_INTAKE_MIDDLE_CLOSED | INTAKE_MIDDLE_CLOSED | ABR_Central.Central.INTAKE_MIDDLE_CLOSED
DI | ZONE2_EXHAUST_FEEDBACK |  | Zone2 valve exhaust feedback | OMR_GW2.IDH.IR44.10 | IR44.10 | IR44.10 | CP_ZONE2_EXHAUST_FEEDBACK | ZONE2_EXHAUST_FEEDBACK | ABR_Central.Central.ZONE2_EXHAUST_FEEDBACK
DI | ZONE2_REC_FEEDBACK |  | Zone2 recirculation feedback | OMR_GW2.IDH.IR44.11 | IR44.11 | IR44.11 | CP_ZONE2_REC_FEEDBACK | ZONE2_REC_FEEDBACK | ABR_Central.Central.ZONE2_REC_FEEDBACK
DI | ZONE4_EXHAUST_FEEDBACK |  | Zone4 exhaust feedback | OMR_GW2.IDH.IR44.12 | IR44.12 | IR44.12 | CP_ZONE4_EXHAUST_FEEDBACK | ZONE4_EXHAUST_FEEDBACK | ABR_Central.Central.ZONE4_EXHAUST_FEEDBACK
DI | ZONE4_REC_FEEDBACK |  | Zone4 recirculation feedback | OMR_GW2.IDH.IR44.13 | IR44.13 | IR44.13 | CP_ZONE4_REC_FEEDBACK | ZONE4_REC_FEEDBACK | ABR_Central.Central.ZONE4_REC_FEEDBACK
DO | T51-1_PID_LOOP_STATUS_DO |  |  | OMR_GW2.IDH.HR1.2 | HR1.2 | HR1.2 | CP_T51-1_PID_LOOP_STATUS_DO | T51_1_PID_LOOP_STATUS | ABR_Central.Central.T51_1_PID_LOOP_STATUS
DO | T51-2_PID_LOOP_STATUS_DO |  |  | OMR_GW2.IDH.HR1.3 | HR1.3 | HR1.3 | CP_T51-2_PID_LOOP_STATUS_DO | T51_2_PID_LOOP_STATUS | ABR_Central.Central.T51_2_PID_LOOP_STATUS
DO | T51-3_S_PID_LOOP_STATUS_DO |  |  | OMR_GW2.IDH.HR1.5 | HR1.5 | HR1.5 | CP_T51-3_S_PID_LOOP_STATUS_DO | T51_3_S_PID_LOOP_STATUS | ABR_Central.Central.T51_3_S_PID_LOOP_STATUS
DO | T51-3_W_PID_LOOP_STATUS_DO |  |  | OMR_GW2.IDH.HR1.7 | HR1.7 | HR1.7 | CP_T51-3_W_PID_LOOP_STATUS_DO | T51_3_W_PID_LOOP_STATUS | ABR_Central.Central.T51_3_W_PID_LOOP_STATUS
DO | T51-5_PID_LOOP_STATUS |  |  | OMR_GW2.IDH.HR1.4 | HR1.4 | HR1.4 | CP_T51-5_PID_LOOP_STATUS | T51_5_PID_LOOP_STATUS | ABR_Central.Central.T51_5_PID_LOOP_STATUS
DO | IDH_AV51-11_CLOSE |  |  | OMR_GW2.IDH.IR38.0 | IR38.0 | IR38.0 | CP_IDH_AV51-11_CLOSE | IDH_AV51_11_CLOSE | ABR_Central.Central.IDH_AV51_11_CLOSE
DO | IDH_AV51-11_OPEN |  |  | OMR_GW2.IDH.IR38.1 | IR38.1 | IR38.1 | CP_IDH_AV51-11_OPEN | IDH_AV51_11_OPEN | ABR_Central.Central.IDH_AV51_11_OPEN
DO | IDH_AV51-12_CLOSE |  |  | OMR_GW2.IDH.IR38.2 | IR38.2 | IR38.2 | CP_IDH_AV51-12_CLOSE | IDH_AV51_12_CLOSE | ABR_Central.Central.IDH_AV51_12_CLOSE
DO | IDH_AV51-12_OPEN |  |  | OMR_GW2.IDH.IR38.3 | IR38.3 | IR38.3 | CP_IDH_AV51-12_OPEN | IDH_AV51_12_OPEN | ABR_Central.Central.IDH_AV51_12_OPEN
DO | IDH_AV51-13_CLOSE |  |  | OMR_GW2.IDH.IR38.4 | IR38.4 | IR38.4 | CP_IDH_AV51-13_CLOSE | IDH_AV51_13_CLOSE | ABR_Central.Central.IDH_AV51_13_CLOSE
DO | IDH_AV51-13_OPEN |  |  | OMR_GW2.IDH.IR38.5 | IR38.5 | IR38.5 | CP_IDH_AV51-13_OPEN | IDH_AV51_13_OPEN | ABR_Central.Central.IDH_AV51_13_OPEN
DO | T51-12_PID_LOOP_STATUS_DO |  |  | OMR_GW2.IDH.HR1.6 | HR1.6 | HR1.6 | CP_T51-12_PID_LOOP_STATUS_DO | T51_12_PID_LOOP_STATUS | ABR_Central.Central.T51_12_PID_LOOP_STATUS
DO | CHEM_OSCILLATING_DRIER |  | Chemetator Park Position to Drier | OMR_GW2.IDH.IR500.14 | IR500.14 | IR500.14 | CP_CHEM_OSCILLATING_DRIER | CHEM_OSCILLATING_DRIER | ABR_Central.Central.CHEM_OSCILLATING_DRIER
DO | CHEM_PARK_POS_DRIER |  | Chemetator Park Position to Drier | OMR_GW2.IDH.IR500.04 | IR500.04 | IR500.04 | CP_CHEM_PARK_POS_DRIER | CHEM_PARK_POS_DRIER | ABR_Central.Central.CHEM_PARK_POS_DRIER
DO | IDH_12EF2_ZH_DO |  | IDH Economizer Zone2 valve Opened | OMR_GW2.IDH.IR42.08 | IR42.08 | IR42.08 | CP_IDH_12EF2_ZH_DO | IDH_12EF2_ZH_DO | ABR_Central.Central.IDH_12EF2_ZH_DO
DO | IDH_12EF2_ZC_DO |  | IDH Economizer Zone2 valve Output | OMR_GW2.IDH.IR39.02 | IR39.02 | IR39.02 | CP_IDH_12EF2_ZC_DO | IDH_12EF2_ZC_DO | ABR_Central.Central.IDH_12EF2_ZC_DO
DO | DRIER_FLOW_SPIKE_ALARM_ACK_DO |  |  | OMR_GW2.IDH.HR2.3 | HR2.3 | HR2.3 | CP_DRIER_FLOW_SPIKE_ALARM_ACK_DO | DRIER_FLOW_SPIKE_ALARM_ACK_DO | ABR_Central.Central.DRIER_FLOW_SPIKE_ALARM_ACK_DO
DO | DRI_LOCAL_ALARM_DO |  | SIGNAL TO DRIER PLC TO TURN ON LOCAL ALM | OMR_GW2.IDH.HR3.0 | HR3.0 | HR3.0 | CP_DRI_LOCAL_ALARM_DO | DRI_LOCAL_ALARM_DO | ABR_Central.Central.DRI_LOCAL_ALARM_DO
DO | DRI_LOCAL_ALM_LOCKOUT_DO |  | LOCKS OUT ALARM IN PLC | OMR_GW2.IDH.HR3.1 | HR3.1 | HR3.1 | CP_DRI_LOCAL_ALM_LOCKOUT_DO | DRI_LOCAL_ALM_LOCKOUT_DO | ABR_Central.Central.DRI_LOCAL_ALM_LOCKOUT_DO
AA | T51-3_W_PID_OUTPUT | T51-3_W_OUT_PID_CA |  | OMR_GW2.IDH.IR106 | IR106 | IR106 | CP_T51-3_W_PID_OUTPUT | T51_3_W_PID_OUTPUT_FORCE | ABR_Central.Central.T51_3_W_PID_OUTPUT_FORCE
AA | T51-3_S_PID_OUTPUT | T51-3_S_OUT_PID_CA |  | OMR_GW2.IDH.IR104 | IR104 | IR104 | CP_T51-3_S_PID_OUTPUT | IDH_ADDR_104 | ABR_Central.Central.IDH_ADDR_104
AA | T51-3_STPT |  |  | OMR_GW2.IDH.DM130 | DM130 | DM130 | CP_T51-3_STPT | T51_3_STPT | ABR_Central.Central.T51_3_STPT
AA | T51-3_SCADA_SCALED | T51-3_SCADA_SCALED_CA | DRIER TEMP IN FROM IDH | OMR_GW2.IDH.DM274 | DM274 | DM274 | CP_T51-3_SCADA_SCALED | T51_3_RAW | ABR_Central.Central.T51_3_RAW
AA | T51-4_SCADA_SCALED | T51-4 | Outside Air Temp | OMR_GW2.IDH.IR193 | IR193 | IR193 | CP_T51-4_SCADA_SCALED | IDH_ADDR_193 | ABR_Central.Central.IDH_ADDR_193
AA | T51-3_RAW | T51-3 | DRIER TEMP IN FROM IDH | OMR_GW2.IDH.DM274 | DM274 | DM274 | CP_T51-3_RAW | T51_3_RAW | ABR_Central.Central.T51_3_RAW
AA | T51-2_STPT |  |  | OMR_GW2.IDH.DM110 | DM110 | DM110 | CP_T51-2_STPT | T51_2_STPT | ABR_Central.Central.T51_2_STPT
AA | T51-5_PID_OUTPUT | T51-5_OUT_PID_CA |  | OMR_GW2.IDH.IR103 | IR103 | IR103 | CP_T51-5_PID_OUTPUT | IDH_ADDR_103 | ABR_Central.Central.IDH_ADDR_103
AA | T51-5_PV_TO_BURNER_AA | T51-5_PV_TO_BURNER_CA | IDH regen temp HI or LO | OMR_GW2.IDH.DM314@BCD | DM314@BCD | DM314 | CP_T51-5_PV_TO_BURNER_AA | T51_5_PV_TO_BURNER_AA | ABR_Central.Central.T51_5_PV_TO_BURNER_AA
AA | T51-5_RAW | T51-5 | IDH regen temp HI or LO | OMR_GW2.IDH.IR188 | IR188 | IR188 | CP_T51-5_RAW | IDH_ADDR_188 | ABR_Central.Central.IDH_ADDR_188
AA | IDH_MAIN_FAN_AMPS |  | IDH main fan amps | OMR_GW2.IDH.DM1767@BCD | DM1767@BCD | DM1767 | CP_IDH_MAIN_FAN_AMPS | IDH_MAIN_FAN_AMPS | ABR_Central.Central.IDH_MAIN_FAN_AMPS
AA | IDH_REGEN_FAN_AMPS |  | IDH REGEN FAN AMPS | OMR_GW2.IDH.DM1747@BCD | DM1747@BCD | DM1747 | CP_IDH_REGEN_FAN_AMPS | IDH_REGEN_FAN_AMPS | ABR_Central.Central.IDH_REGEN_FAN_AMPS
AA | T51-5_STPT |  |  | OMR_GW2.IDH.DM120 | DM120 | DM120 | CP_T51-5_STPT | T51_5_STPT | ABR_Central.Central.T51_5_STPT
AA | T51-6_SCADA_SCALED | T51-6 | After Wheel Temp | OMR_GW2.IDH.DM289@BCD | DM289@BCD | DM289 | CP_T51-6_SCADA_SCALED | T51_6_SCADA_SCALED | ABR_Central.Central.T51_6_SCADA_SCALED
AA | IDH_T51-3_SETPOINT |  | T51-3 SETPOINT | OMR_GW2.IDH.DM255@BCD | DM255@BCD | DM255 | CP_IDH_T51-3_SETPOINT | IDH_T51_3_SETPOINT | ABR_Central.Central.IDH_T51_3_SETPOINT
AA | L52-51 | L52-51_TREND | Chiller Tank lvl high or low | OMR_GW2.IDH.DM1790 | DM1790 | DM1790 | CP_L52-51 | L52_51 | ABR_Central.Central.L52_51
AA | T51-10_ALARM |  | Chiller Outlet Temp Alarm Check Chiller | OMR_GW2.IDH.IR195 | IR195 | IR195 | CP_T51-10_ALARM | IDH_ADDR_195 | ABR_Central.Central.IDH_ADDR_195
AA | T51-10_SCADA_SCALED | T51-10_SCADA_SCALED_CA | Outlet Temperature from Carrier Chiller | OMR_GW2.IDH.IR195 | IR195 | IR195 | CP_T51-10_SCADA_SCALED | IDH_ADDR_195 | ABR_Central.Central.IDH_ADDR_195
AA | T51-11_RAW | T51-11 | chiller #1 inlet temp (hot) | OMR_GW2.IDH.IR196 | IR196 | IR196 | CP_T51-11_RAW | T51_11_RAW | ABR_Central.Central.T51_11_RAW
AA | NEW_DRIER_FLOW | CHEM_FLOW_TOT | DRIER FLOWRATE l/m | OMR_GW2.IDH.DM920@BCD | DM920@BCD | DM920 | CP_NEW_DRIER_FLOW | CHEM_FLOW | ABR_Central.Central.CHEM_FLOW
AA | NEW_DRIER_FLOW_PASSTHRU | NEW_DRIER_FLOW_CHEM | DRIER FLOWRATE l/m | OMR_GW2.IDH.DM920@BCD | DM920@BCD | DM920 | CP_NEW_DRIER_FLOW_PASSTHRU | CHEM_FLOW | ABR_Central.Central.CHEM_FLOW
AA | T51-11_SCADA_SCALED | T51-11_SCADA_SCALED_CA | Inlet to Carrier Chiller | OMR_GW2.IDH.IR196 | IR196 | IR196 | CP_T51-11_SCADA_SCALED | T51_11_RAW | ABR_Central.Central.T51_11_RAW
AA | DRIER_FLOW_CIP_EAST |  | CIP EAST DRIER FLOWRATE | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_FLOW_CIP_EAST | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | DRIER_FLOW_4TH_EAST |  | 4TH COOK EAST DRIER FLOWRATE | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_FLOW_4TH_EAST | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | T51-12_PID_OUTPUT |  |  | OMR_GW2.IDH.IR105 | IR105 | IR105 | CP_T51-12_PID_OUTPUT | IDH_ADDR_105 | ABR_Central.Central.IDH_ADDR_105
AA | DRIER_FLOW_3RD_EAST |  | 3RD COOK EAST DRIER FLOWRATE | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_FLOW_3RD_EAST | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | DRIER_FLOW_2ND_EAST |  | 2ND COOK EAST DRIER FLOWRATE | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_FLOW_2ND_EAST | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | T51-12_RAW | T51-12 | glycol temp after recirc pump | OMR_GW2.IDH.IR197 | IR197 | IR197 | CP_T51-12_RAW | IDH_ADDR_197 | ABR_Central.Central.IDH_ADDR_197
AA | DRIER_FLOW_1ST_EAST |  | 1ST COOK EAST DRIER FLOWRATE | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_FLOW_1ST_EAST | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | T51-12_RAW_SCADA_SCALING |  | glycol temp after recirc pump | OMR_GW2.IDH.IR197 | IR197 | IR197 | CP_T51-12_RAW_SCADA_SCALING | IDH_ADDR_197 | ABR_Central.Central.IDH_ADDR_197
AA | DRIER_EAST_FLOW_REP1 | DRIER_EAST_FLOW_REP_TOTAL | USED FOR SLOWDOWN REPORT | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_EAST_FLOW_REP1 | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | DRIER_EAST_FLOW_REP | DRIER_EAST_FLOW_REP_EVENT | USED FOR SLOWDOWN REPORT | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_DRIER_EAST_FLOW_REP | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | DRIER_DRY_FLOW_FINE_GRIND_AA |  | FINE GRINDER FLOW VERY HIGH | OMR_GW2.IDH.DM939 | DM939 | DM939 | CP_DRIER_DRY_FLOW_FINE_GRIND_AA | DRIER_DRY_FLOW_FINE_GRIND | ABR_Central.Central.DRIER_DRY_FLOW_FINE_GRIND
AA | DRIER_DRY_FLOW_FINE_GRIND | DRIER_DRY_FLOW_FINE_TOTAL | FINE GRINDER FLOW < 3.0 | OMR_GW2.IDH.DM939 | DM939 | DM939 | CP_DRIER_DRY_FLOW_FINE_GRIND | DRIER_DRY_FLOW_FINE_GRIND | ABR_Central.Central.DRIER_DRY_FLOW_FINE_GRIND
AA | DRIER_DRY_FLOW_EAST | DRIER_DRY_FLOW_EAST_TOTAL | COMIL FLOW | OMR_GW2.IDH.DM934 | DM934 | DM934 | CP_DRIER_DRY_FLOW_EAST | DRIER_DRY_FLOW_EAST | ABR_Central.Central.DRIER_DRY_FLOW_EAST
AA | DRIER_DRY_FLOW_COMIL |  | COMIL DRY FLOW | OMR_GW2.IDH.DM934 | DM934 | DM934 | CP_DRIER_DRY_FLOW_COMIL | DRIER_DRY_FLOW_EAST | ABR_Central.Central.DRIER_DRY_FLOW_EAST
AA | T52-48_RAW | T52-48 | Small cooling tower outlet temp | OMR_GW2.IDH.IR182 | IR182 | IR182 | CP_T52-48_RAW | IDH_ADDR_182 | ABR_Central.Central.IDH_ADDR_182
AA | T52-49_RAW | T52-49 | small cooling tower return from cc3 | OMR_GW2.IDH.IR183 | IR183 | IR183 | CP_T52-49_RAW | T52_49_RAW | ABR_Central.Central.T52_49_RAW
AA | T52-50_RAW | T52-50 | cc3 inlet temp | OMR_GW2.IDH.IR184 | IR184 | IR184 | CP_T52-50_RAW | T52_50_RAW | ABR_Central.Central.T52_50_RAW
AA | T51-2_SCADA_SCALED | T51-2 | Air Temp Before Dessicant Wheel | OMR_GW2.IDH.DM279@BCD | DM279@BCD | DM279 | CP_T51-2_SCADA_SCALED | T51_2_SCADA_SCALED | ABR_Central.Central.T51_2_SCADA_SCALED
AA | RH51-1_RAW | RH51-1 | relative humidity outside air | OMR_GW2.IDH.IR186 | IR186 | IR186 | CP_RH51-1_RAW | IDH_ADDR_186 | ABR_Central.Central.IDH_ADDR_186
AA | CFM_51-1 | CFM_51-1_TREND | IDH AIR FLOW | OMR_GW2.IDH.DM1717 | DM1717 | DM1717 | CP_CFM_51-1 | CFM_51_1 | ABR_Central.Central.CFM_51_1
AA | T51-2_PID_OUTPUT | T51-2_OUT_PID_CA |  | OMR_GW2.IDH.IR102 | IR102 | IR102 | CP_T51-2_PID_OUTPUT | IDH_ADDR_102 | ABR_Central.Central.IDH_ADDR_102
AA | T51-1_STPT |  |  | OMR_GW2.IDH.DM100 | DM100 | DM100 | CP_T51-1_STPT | T51_1_STPT | ABR_Central.Central.T51_1_STPT
AA | T51-1_SCADA_SCALED | T51-1 | Air Temp After CC1 | OMR_GW2.IDH.DM284@BCD | DM284@BCD | DM284 | CP_T51-1_SCADA_SCALED | T51_1_SCADA_SCALED | ABR_Central.Central.T51_1_SCADA_SCALED
AA | CHEM_TEST_FLOW_AVG_1 |  | CHEMETATOR FLOW AVG (minute) | OMR_GW2.IDH.DM210 | DM210 | DM210 | CP_CHEM_TEST_FLOW_AVG_1 | CHEM_TEST_FLOW_AVG_1 | ABR_Central.Central.CHEM_TEST_FLOW_AVG_1
AA | CHEM_TEST_FLOW_AVG_2 |  | CHEMETATOR FLOW AVG (hour) | OMR_GW2.IDH.DM213 | DM213 | DM213 | CP_CHEM_TEST_FLOW_AVG_2 | CHEM_TEST_FLOW_AVG_2 | ABR_Central.Central.CHEM_TEST_FLOW_AVG_2
AA | T51-1_PID_OUTPUT | T51-1_OUT_PID_CA |  | OMR_GW2.IDH.IR101 | IR101 | IR101 | CP_T51-1_PID_OUTPUT | IDH_ADDR_101 | ABR_Central.Central.IDH_ADDR_101
AA | T-51-10_RAW | T51-10 | chiller #1 outlet temp (cold) | OMR_GW2.IDH.IR195 | IR195 | IR195 | CP_T-51-10_RAW | IDH_ADDR_195 | ABR_Central.Central.IDH_ADDR_195
AA | EAST_DRIER_FLOW | EAST_DRIER_FLOW_TOTAL | EAST DRIER FLOWRATE | OMR_GW2.IDH.DM1727 | DM1727 | DM1727 | CP_EAST_DRIER_FLOW | EAST_DRIER_FLOW | ABR_Central.Central.EAST_DRIER_FLOW
AA | EAST_DRIER_FLOWRATE_STPT | EAST_DRIER_FLOWRATE_STPT_TREND | EAST DRIER FLOWRATE SETPOINT | OMR_GW2.IDH.DM900 | DM900 | DM900 | CP_EAST_DRIER_FLOWRATE_STPT | DRIER_EAST_FLOW_STPT | ABR_Central.Central.DRIER_EAST_FLOW_STPT
AA | DEW_51-1_RAW | DEW_51-1 |  | OMR_GW2.IDH.DM1757 | DM1757 | DM1757 | CP_DEW_51-1_RAW | DEW_51_1_RAW | ABR_Central.Central.DEW_51_1_RAW
AA | NEW_DRIER_FLOW_TO_DRY | NEW_DRIER_FLOW_DRY | DRIER FLOWRATE l/m | OMR_GW2.IDH.DM920@BCD | DM920@BCD | DM920 | CP_NEW_DRIER_FLOW_TO_DRY | CHEM_FLOW | ABR_Central.Central.CHEM_FLOW
DA | CHILLER_NOT_RUNNING |  | Carrier Chiller Not Running | OMR_GW2.IDH.IR502.0 | IR502.0 | IR502.0 | CP_CHILLER_NOT_RUNNING | CHILLER_NOT_RUNNING | ABR_Central.Central.CHILLER_NOT_RUNNING
DA | CHILLER#1_COMP#6 |  | chiller #1 comp #6 | OMR_GW2.IDH.IR42.6 | IR42.6 | IR42.6 | CP_CHILLER#1_COMP#6 | CHILLER1_COMP6 | ABR_Central.Central.CHILLER1_COMP6
DA | CHILLER#1_COMP#5 |  | chiller #1 comp #5 | OMR_GW2.IDH.IR42.5 | IR42.5 | IR42.5 | CP_CHILLER#1_COMP#5 | CHILLER1_COMP5 | ABR_Central.Central.CHILLER1_COMP5
DA | CHILLER#1_COMP#4 |  | chiller #1 comp #4 | OMR_GW2.IDH.IR42.4 | IR42.4 | IR42.4 | CP_CHILLER#1_COMP#4 | CHILLER1_COMP4 | ABR_Central.Central.CHILLER1_COMP4
DA | CHILLER#1_COMP#3 |  | chiller #1 comp #3 | OMR_GW2.IDH.IR42.3 | IR42.3 | IR42.3 | CP_CHILLER#1_COMP#3 | CHILLER1_COMP3 | ABR_Central.Central.CHILLER1_COMP3
DA | CHILLER#1_COMP#2 |  | chiller #1 comp #2 | OMR_GW2.IDH.IR42.2 | IR42.2 | IR42.2 | CP_CHILLER#1_COMP#2 | CHILLER1_COMP2 | ABR_Central.Central.CHILLER1_COMP2
DA | CHILLER#1_COMP#1 |  | chiller #1 comp #1 | OMR_GW2.IDH.IR42.1 | IR42.1 | IR42.1 | CP_CHILLER#1_COMP#1 | CHILLER1_COMP1 | ABR_Central.Central.CHILLER1_COMP1
DA | DRIER_EAST_DOOR |  | East Drier Pin Breaker Stop | OMR_GW2.IDH.IR11.1 | IR11.1 | IR11.1 | CP_DRIER_EAST_DOOR | DRIER_EAST_DOOR | ABR_Central.Central.DRIER_EAST_DOOR
DA | DRIER_EAST_OSC_ARM_INVERT |  |  | OMR_GW2.IDH.HR1.0 | HR1.0 | HR1.0 | CP_DRIER_EAST_OSC_ARM_INVERT | DRI_EAST_OSC_ARM_ON | ABR_Central.Central.DRI_EAST_OSC_ARM_ON
DA | DRIER_FLOW_SPIKE_ALARM |  | DRIER FLOW SPIKE ALARM | OMR_GW2.IDH.HR2.2 | HR2.2 | HR2.2 | CP_DRIER_FLOW_SPIKE_ALARM | DRIER_FLOW_SPIKE_ALARM | ABR_Central.Central.DRIER_FLOW_SPIKE_ALARM
DA | FINE_GRIND_ALARM |  | FINE GRINDER IS STOPPED ALARM | OMR_GW2.IDH.IR11.0 | IR11.0 | IR11.0 | CP_FINE_GRIND_ALARM | FINE_GRIND_ALARM | ABR_Central.Central.FINE_GRIND_ALARM
DA | DRI_LOCAL_ALM_LOCKOUT_DI |  | LOCKS OUT ALARM IN PLC | OMR_GW2.IDH.HR3.1 | HR3.1 | HR3.1 | CP_DRI_LOCAL_ALM_LOCKOUT_DI | DRI_LOCAL_ALM_LOCKOUT_DO | ABR_Central.Central.DRI_LOCAL_ALM_LOCKOUT_DO
DA | PU52-2B_PROVE |  | small cooling tower recirc pump B | OMR_GW2.IDH.IR44.0 | IR44.0 | IR44.0 | CP_PU52-2B_PROVE | PU52_2B_PROVE | ABR_Central.Central.PU52_2B_PROVE
DA | PU52-2A_PROVE |  | small cooling tower recirc pump A | OMR_GW2.IDH.IR43.14 | IR43.14 | IR43.14 | CP_PU52-2A_PROVE | PU52_2A_PROVE | ABR_Central.Central.PU52_2A_PROVE
DA | PU51-2B_PROVE |  | chiller #2 recirc pump B | OMR_GW2.IDH.IR43.12 | IR43.12 | IR43.12 | CP_PU51-2B_PROVE | PU51_2B_PROVE | ABR_Central.Central.PU51_2B_PROVE
DA | PU-51-2A_PROVE |  | chiller #2 recirc pump A | OMR_GW2.IDH.IR43.10 | IR43.10 | IR43.10 | CP_PU-51-2A_PROVE | PU_51_2A_PROVE | ABR_Central.Central.PU_51_2A_PROVE
DA | PU-51-1B_PROVE |  | chiller #1 recirc pump B | OMR_GW2.IDH.IR43.2 | IR43.2 | IR43.2 | CP_PU-51-1B_PROVE | PU_51_1B_PROVE | ABR_Central.Central.PU_51_1B_PROVE
DA | PU-51-1A_PROVE |  | chiller #1 recirc pump A | OMR_GW2.IDH.IR43.0 | IR43.0 | IR43.0 | CP_PU-51-1A_PROVE | PU_51_1A_PROVE | ABR_Central.Central.PU_51_1A_PROVE
DA | EAST_FLOW<8L/M |  | N-Dryer 4th flow < Target | OMR_GW2.IDH.IR120.5 | IR120.5 | IR120.5 | CP_EAST_FLOW<8L/M | EAST_FLOW8LM | ABR_Central.Central.EAST_FLOW8LM
DA | EAST_FLOW<10_L/M |  | N-Dryer 3rd flow < Target | OMR_GW2.IDH.IR120.3 | IR120.3 | IR120.3 | CP_EAST_FLOW<10_L/M | EAST_FLOW10_LM | ABR_Central.Central.EAST_FLOW10_LM
DA | EAST_FLOW<11_L/M |  | N-Dryer 1st or 2nd flow < Target | OMR_GW2.IDH.IR120.1 | IR120.1 | IR120.1 | CP_EAST_FLOW<11_L/M | EAST_FLOW11_LM | ABR_Central.Central.EAST_FLOW11_LM
DA | SYS_WATCH_DRIER_CLOSE |  | MONITOR 1 MIN TIMER 254.0 | OMR_GW2.IDH.IR254.0 | IR254.0 | IR254.0 | CP_SYS_WATCH_DRIER_CLOSE | SYS_WATCH_DRIER_CLOSE | ABR_Central.Central.SYS_WATCH_DRIER_CLOSE
DA | SYS_WATCH_DRIER_OPEN |  | MONITOR 1 MIN TIMER 254.0 | OMR_GW2.IDH.IR254.0 | IR254.0 | IR254.0 | CP_SYS_WATCH_DRIER_OPEN | SYS_WATCH_DRIER_CLOSE | ABR_Central.Central.SYS_WATCH_DRIER_CLOSE
DA | IDH_SATAKE_LSHH1 |  | Satake Level Switch 1 High High | OMR_GW2.IDH.IR503.00 | IR503.00 | IR503.00 | CP_IDH_SATAKE_LSHH1 | IDH_SATAKE_LSHH1 | ABR_Central.Central.IDH_SATAKE_LSHH1
DA | IDH_SATAKE_LSH1 |  | Satake Level Switch 1 High | OMR_GW2.IDH.IR503.01 | IR503.01 | IR503.01 | CP_IDH_SATAKE_LSH1 | IDH_SATAKE_LSH1 | ABR_Central.Central.IDH_SATAKE_LSH1
DA | IDH_SATAKE_LSH2 |  | Satake Level Switch 2 High | OMR_GW2.IDH.IR503.02 | IR503.02 | IR503.02 | CP_IDH_SATAKE_LSH2 | IDH_SATAKE_LSH2 | ABR_Central.Central.IDH_SATAKE_LSH2
DA | IDH_SATAKE_FAULT |  | Satake Fault | OMR_GW2.IDH.IR503.03 | IR503.03 | IR503.03 | CP_IDH_SATAKE_FAULT | IDH_SATAKE_FAULT | ABR_Central.Central.IDH_SATAKE_FAULT
DA | IDH_SATAKE_BYPASS_REMINDER |  | SATAKE Bypass Enabled with No Alarms Present | OMR_GW2.IDH. IR503.13 | IR503.13 | IR503.13 | CP_IDH_SATAKE_BYPASS_REMINDER | IDH_SATAKE_BYPASS_REMINDER | ABR_Central.Central.IDH_SATAKE_BYPASS_REMINDER