## SCADA_Tags_Sterilizer
Type | TAG | NEXT BLK | DESCRIPTION | Full Address | Clean_Address_BCD | Clean_Address | New_Name | New_Address | New_Address_Full
AI | STER_VAC_STPT_AR |  | (NGC) | OMR_GW2.STER.DM511 | DM511 | DM511 | CP_STER_VAC_STPT_AR | STER_VAC_STPT_AR | ABR_Central.Central.STER_VAC_STPT_AR
AI | STER_VAC_STPT_AI |  | STERILIZER VAC STPT | OMR_GW2.STER.DM519 | DM519 | DM519 | CP_STER_VAC_STPT_AI | STER_VAC_STPT_AI | ABR_Central.Central.STER_VAC_STPT_AI
AI | STER_VAC_OUT_AI |  | STER VAC PID OUTPUT | OMR_GW2.STER.DM516@BCD | DM516@BCD | DM516 | CP_STER_VAC_OUT_AI | STER_VAC_OUT_AI | ABR_Central.Central.STER_VAC_OUT_AI
AI | STER_TR74_STPT_AR |  | (NGC) | OMR_GW2.STER.DM501@BCD | DM501@BCD | DM501 | CP_STER_TR74_STPT_AR | STER_TR74_STPT_AI | ABR_Central.Central.STER_TR74_STPT_AI
AI | STER_TR74_STPT_AI |  | TR74 SETPOINT | OMR_GW2.STER.DM501@bcd | DM501@bcd | DM501 | CP_STER_TR74_STPT_AI | STER_TR74_STPT_AI | ABR_Central.Central.STER_TR74_STPT_AI
AI | STER_TR74_OUT_AI |  | STER TR74 PID OUTPUT | OMR_GW2.STER.DM506@BCD | DM506@BCD | DM506 | CP_STER_TR74_OUT_AI | STER_TR74_OUT_AI | ABR_Central.Central.STER_TR74_OUT_AI
AI | STER_TO_DRIER_CIP_STEP | DRIER_FROM_STER_CIP_STEP |  | OMR_GW2.STER.DM910 | DM910 | DM910 | CP_STER_TO_DRIER_CIP_STEP | STER_TO_DRIER_CIP_STEP | ABR_Central.Central.STER_TO_DRIER_CIP_STEP
AI | STERILIZER_RUNNING_STATUS |  | 2'=S/D, 3=CIP, 4=Park, 5=CIP>Target, 6=??' | OMR_GW2.Ster.DM420@bcd | DM420@bcd | DM420 | CP_STERILIZER_RUNNING_STATUS | STERILIZER_RUNNING_STATUS | ABR_Central.Central.STERILIZER_RUNNING_STATUS
AI | STER_LEVEL_SEP_STPT_AR |  | (NGC) | OMR_GW2.STER.DM521@BCD | DM521@BCD | DM521 | CP_STER_LEVEL_SEP_STPT_AR | STER_LEVEL_SEP_STPT_AI | ABR_Central.Central.STER_LEVEL_SEP_STPT_AI
AI | STER_LEVEL_SEP_STPT_AI |  | SEPARATOR LEVEL | OMR_GW2.STER.DM521@BCD | DM521@BCD | DM521 | CP_STER_LEVEL_SEP_STPT_AI | STER_LEVEL_SEP_STPT_AI | ABR_Central.Central.STER_LEVEL_SEP_STPT_AI
AI | STER_LEVEL_SEP_OUT_AI |  | STER SEPARATOR LEVEL PID OUTPUT | OMR_GW2.STER.DM526@BCD | DM526@BCD | DM526 | CP_STER_LEVEL_SEP_OUT_AI | STER_LEVEL_SEP_OUT_AI | ABR_Central.Central.STER_LEVEL_SEP_OUT_AI
AI | STER_LEVEL_BALANCE_TK | STER_BALANCE_VOLUME | STERILIZER BALANCE TANK LEVEL % | OMR_GW2.STER.IR111@BCD | IR111@BCD | IR111 | CP_STER_LEVEL_BALANCE_TK | BTLEVEL | ABR_Central.Central.BTLEVEL
AI | STER_FLOW_STPT_AR |  | (NGC) | OMR_GW2.STER.DM531 | DM531 | DM531 | CP_STER_FLOW_STPT_AR | STER_FLOW_STPT_AI | ABR_Central.Central.STER_FLOW_STPT_AI
AI | STER_FLOW_STPT_AI |  | FLOWRATE STPT | OMR_GW2.STER.DM531@bcd | DM531@bcd | DM531 | CP_STER_FLOW_STPT_AI | STER_FLOW_STPT_AI | ABR_Central.Central.STER_FLOW_STPT_AI
AI | STER_FLOW_OUT_AI |  | STER FLOW PID OUTPUT | OMR_GW2.STER.DM536 | DM536 | DM536 | CP_STER_FLOW_OUT_AI | STER_FLOW_OUT_AI | ABR_Central.Central.STER_FLOW_OUT_AI
AI | STERILIZER_STATUS_PASSTHRU | YP_STER_STATUS | 1'=Prod 2=S/D 3=CIP 4=Park' | OMR_GW2.STER.DM420@BCD | DM420@BCD | DM420 | CP_STERILIZER_STATUS_PASSTHRU | STERILIZER_RUNNING_STATUS | ABR_Central.Central.STERILIZER_RUNNING_STATUS
AI | STER_CIP_COND_STPT |  | Sterilizer CIP Conductivity Setpoint (mS) | OMR_GW2.STER.DM411@BCD | DM411@BCD | DM411 | CP_STER_CIP_COND_STPT | STER_CIP_COND_STPT | ABR_Central.Central.STER_CIP_COND_STPT
AO | STER_FLOW_STPT_AO |  |  | OMR_GW2.STER.DM531@bcd | DM531@bcd | DM531 | CP_STER_FLOW_STPT_AO | STER_FLOW_STPT_AI | ABR_Central.Central.STER_FLOW_STPT_AI
AO | STER_LEVEL_SEP_STPT_AO |  |  | OMR_GW2.STER.DM521@BCD | DM521@BCD | DM521 | CP_STER_LEVEL_SEP_STPT_AO | STER_LEVEL_SEP_STPT_AI | ABR_Central.Central.STER_LEVEL_SEP_STPT_AI
AO | STER_VAC_STPT_AO |  |  | OMR_GW2.STER.DM511 | DM511 | DM511 | CP_STER_VAC_STPT_AO | STER_VAC_STPT_AR | ABR_Central.Central.STER_VAC_STPT_AR
AO | STER_TR74_STPT_AO |  |  | OMR_GW2.STER.DM501 | DM501 | DM501 | CP_STER_TR74_STPT_AO | STER_TR74_STPT_AI | ABR_Central.Central.STER_TR74_STPT_AI
DI | STER_CIP_CS17 |  | FLUSH TO DRAIN | OMR_GW2.STER.IR422.0 | IR422.0 | IR422.0 | CP_STER_CIP_CS17 | STER_CIP_CS17 | ABR_Central.Central.STER_CIP_CS17
DI | STER_CIP_CS16 |  | EMPTY BALANCE TANK | OMR_GW2.STER.IR421.14 | IR421.14 | IR421.14 | CP_STER_CIP_CS16 | STER_CIP_CS16 | ABR_Central.Central.STER_CIP_CS16
DI | STER_CIP_CS15 |  | RECIRCULATION | OMR_GW2.STER.IR421.12 | IR421.12 | IR421.12 | CP_STER_CIP_CS15 | STER_CIP_CS15 | ABR_Central.Central.STER_CIP_CS15
DI | STER_CIP_CS14 |  | RINSE #2 | OMR_GW2.STER.IR421.10 | IR421.10 | IR421.10 | CP_STER_CIP_CS14 | STER_CIP_CS14 | ABR_Central.Central.STER_CIP_CS14
DI | STER_CIP_CS13 |  | EMPTY BALANCE TANK | OMR_GW2.STER.IR421.8 | IR421.8 | IR421.8 | CP_STER_CIP_CS13 | STER_CIP_CS13 | ABR_Central.Central.STER_CIP_CS13
DI | STER_CIP_CS12 |  | DETERGENT WASH | OMR_GW2.STER.IR421.6 | IR421.6 | IR421.6 | CP_STER_CIP_CS12 | STER_CIP_CS12 | ABR_Central.Central.STER_CIP_CS12
DI | STER_CIP_CS11 |  | RECIRCULATION DONE | OMR_GW2.STER.IR421.4 | IR421.4 | IR421.4 | CP_STER_CIP_CS11 | STER_CIP_CS11 | ABR_Central.Central.STER_CIP_CS11
DI | STER_CIP_CS10 |  | RECIRCULATION | OMR_GW2.STER.IR421.2 | IR421.2 | IR421.2 | CP_STER_CIP_CS10 | STER_CIP_CS10 | ABR_Central.Central.STER_CIP_CS10
DI | STER_CIP_CS18 |  | RECIRCULATION | OMR_GW2.STER.IR422.2 | IR422.2 | IR422.2 | CP_STER_CIP_CS18 | STER_CIP_CS18 | ABR_Central.Central.STER_CIP_CS18
DI | STER_CIP_CS9 |  | FLUSH TO DRAIN | OMR_GW2.STER.IR421.0 | IR421.0 | IR421.0 | CP_STER_CIP_CS9 | STER_CIP_CS9 | ABR_Central.Central.STER_CIP_CS9
DI | STER_CIP_CS19 |  | ADVANCE | OMR_GW2.STER.IR422.4 | IR422.4 | IR422.4 | CP_STER_CIP_CS19 | STER_CIP_CS19 | ABR_Central.Central.STER_CIP_CS19
DI | STER_CIP_CS20 |  | ACID WASH | OMR_GW2.STER.IR422.6 | IR422.6 | IR422.6 | CP_STER_CIP_CS20 | STER_CIP_CS20 | ABR_Central.Central.STER_CIP_CS20
DI | STER_CIP_CS8 |  | EMPTY BALANCE TANK | OMR_GW2.STER.IR420.14 | IR420.14 | IR420.14 | CP_STER_CIP_CS8 | STER_CIP_CS8 | ABR_Central.Central.STER_CIP_CS8
DI | STER_CIP_CS21 |  | EMPTY BALANCE TANK | OMR_GW2.STER.IR422.8 | IR422.8 | IR422.8 | CP_STER_CIP_CS21 | STER_CIP_CS21 | ABR_Central.Central.STER_CIP_CS21
DI | STER_CIP_CS7 |  | RINSE RECIRCULATION | OMR_GW2.STER.IR420.12 | IR420.12 | IR420.12 | CP_STER_CIP_CS7 | STER_CIP_CS7 | ABR_Central.Central.STER_CIP_CS7
DI | STER_CIP_CS6 |  | PRE-RINSE DONE | OMR_GW2.STER.IR420.10 | IR420.10 | IR420.10 | CP_STER_CIP_CS6 | STER_CIP_CS6 | ABR_Central.Central.STER_CIP_CS6
DI | STER_CIP_CS5 |  | START STEAM | OMR_GW2.STER.IR420.8 | IR420.8 | IR420.8 | CP_STER_CIP_CS5 | STER_CIP_CS5 | ABR_Central.Central.STER_CIP_CS5
DI | STER_CIP_CS22 |  | RINSE #3 | OMR_GW2.STER.IR422.10 | IR422.10 | IR422.10 | CP_STER_CIP_CS22 | STER_CIP_CS22 | ABR_Central.Central.STER_CIP_CS22
DI | STER_CIP_CS4 |  | VOTATOR PULSATION | OMR_GW2.STER.IR420.6 | IR420.6 | IR420.6 | CP_STER_CIP_CS4 | STER_CIP_CS4 | ABR_Central.Central.STER_CIP_CS4
DI | STER_CIP_CS3 |  | BALANCE TANK LEVEL CONTROL | OMR_GW2.STER.IR420.4 | IR420.4 | IR420.4 | CP_STER_CIP_CS3 | STER_CIP_CS3 | ABR_Central.Central.STER_CIP_CS3
DI | STER_CIP_CS2 |  | EMPTY BALANCE TANK | OMR_GW2.STER.IR420.2 | IR420.2 | IR420.2 | CP_STER_CIP_CS2 | STER_CIP_CS2 | ABR_Central.Central.STER_CIP_CS2
DI | STER_CIP_CS1 |  | CIP STARTED | OMR_GW2.STER.IR420.0 | IR420.0 | IR420.0 | CP_STER_CIP_CS1 | STER_CIP_CS1 | ABR_Central.Central.STER_CIP_CS1
DI | STER_CIP_COND1_DI |  | Sterilizer CIP Conductivity < 80mS | OMR_GW2.STER.IR490.06 | IR490.06 | IR490.06 | CP_STER_CIP_COND1_DI | STER_CIP_COND1_DI | ABR_Central.Central.STER_CIP_COND1_DI
DI | STER_CIP_CS23 |  | RECIRCULATION | OMR_GW2.STER.IR422.12 | IR422.12 | IR422.12 | CP_STER_CIP_CS23 | STER_CIP_CS23 | ABR_Central.Central.STER_CIP_CS23
DI | STER_CIP_CS24 |  | EMPTY BALANCE TANK | OMR_GW2.STER.IR422.14 | IR422.14 | IR422.14 | CP_STER_CIP_CS24 | STER_CIP_CS24 | ABR_Central.Central.STER_CIP_CS24
DI | STER_CIP_CS25 |  | STOP FEED | OMR_GW2.STER.IR423.0 | IR423.0 | IR423.0 | CP_STER_CIP_CS25 | STER_CIP_CS25 | ABR_Central.Central.STER_CIP_CS25
DI | STER_SHUTDOWN_SS4 |  | EMPTY SEPARATOR | OMR_GW2.STER.IR450.6 | IR450.6 | IR450.6 | CP_STER_SHUTDOWN_SS4 | STER_SHUTDOWN_SS4 | ABR_Central.Central.STER_SHUTDOWN_SS4
DI | STER_CIP_CS26 |  | CIP DONE | OMR_GW2.STER.IR423.2 | IR423.2 | IR423.2 | CP_STER_CIP_CS26 | STER_CIP_CS26 | ABR_Central.Central.STER_CIP_CS26
DI | STER_SHUTDOWN_SS5 |  | REBUILT SEPARATOR LEVEL | OMR_GW2.STER.IR450.8 | IR450.8 | IR450.8 | CP_STER_SHUTDOWN_SS5 | STER_SHUTDOWN_SS5 | ABR_Central.Central.STER_SHUTDOWN_SS5
DI | STER_CIP_AUTO_PB_DI |  |  | OMR_GW2.STER.IR482.1 | IR482.1 | IR482.1 | CP_STER_CIP_AUTO_PB_DI | STER_CIP_AUTO_PB_DI | ABR_Central.Central.STER_CIP_AUTO_PB_DI
DI | STER_SHUTDOWN_SS6 |  | WATER TO DRAIN | OMR_GW2.STER.IR450.10 | IR450.10 | IR450.10 | CP_STER_SHUTDOWN_SS6 | STER_SHUTDOWN_SS6 | ABR_Central.Central.STER_SHUTDOWN_SS6
DI | STER_SHUTDOWN_SS7 |  | RECIRCULATION | OMR_GW2.STER.IR450.12 | IR450.12 | IR450.12 | CP_STER_SHUTDOWN_SS7 | STER_SHUTDOWN_SS7 | ABR_Central.Central.STER_SHUTDOWN_SS7
DI | STER_SHUTDOWN_SS8 |  | EMPTY STERILE TANK | OMR_GW2.STER.IR450.14 | IR450.14 | IR450.14 | CP_STER_SHUTDOWN_SS8 | STER_SHUTDOWN_SS8 | ABR_Central.Central.STER_SHUTDOWN_SS8
DI | STER_CHEM_IN_PARK_POSITION | STER_CHEM_IN_PARK_TIMESTAMP |  | OMR_GW2.STER.IR1.10 | IR1.10 | IR1.10 | CP_STER_CHEM_IN_PARK_POSITION | STER_CHEM_IN_PARK_POSITION | ABR_Central.Central.STER_CHEM_IN_PARK_POSITION
DI | STER_CAUSTIC_PMP |  | Sterilizer Caustic Pump Status | OMR_GW2.STER.IR2.15 | IR2.15 | IR2.15 | CP_STER_CAUSTIC_PMP | STER_CAUSTIC_PMP | ABR_Central.Central.STER_CAUSTIC_PMP
DI | STER_490_11 |  |  | OMR_GW2.STER.IR490.11 | IR490.11 | IR490.11 | CP_STER_490_11 | STER_490_11 | ABR_Central.Central.STER_490_11
DI | STER_490_10 |  |  | OMR_GW2.STER.IR490.10 | IR490.10 | IR490.10 | CP_STER_490_10 | STER_490_10 | ABR_Central.Central.STER_490_10
DI | STER_SHUTDOWN_SS9 |  | FORWARD | OMR_GW2.STER.IR451.0 | IR451.0 | IR451.0 | CP_STER_SHUTDOWN_SS9 | STER_SHUTDOWN_SS9 | ABR_Central.Central.STER_SHUTDOWN_SS9
DI | STER_SHUTDOWN_SS10 |  | RECIRCULATION | OMR_GW2.STER.IR451.2 | IR451.2 | IR451.2 | CP_STER_SHUTDOWN_SS10 | STER_SHUTDOWN_SS10 | ABR_Central.Central.STER_SHUTDOWN_SS10
DI | STER_SHUTDOWN_SS11 |  | STOP STEAM | OMR_GW2.STER.IR451.4 | IR451.4 | IR451.4 | CP_STER_SHUTDOWN_SS11 | STER_SHUTDOWN_SS11 | ABR_Central.Central.STER_SHUTDOWN_SS11
DI | STER_SHUTDOWN_SS12 |  | SHUTDOWN COMPLETE | OMR_GW2.STER.IR451.6 | IR451.6 | IR451.6 | CP_STER_SHUTDOWN_SS12 | STER_SHUTDOWN_SS12 | ABR_Central.Central.STER_SHUTDOWN_SS12
DI | STER_SHUTDOWN_SS3 |  | WATER FEED | OMR_GW2.STER.IR450.4 | IR450.4 | IR450.4 | CP_STER_SHUTDOWN_SS3 | STER_SHUTDOWN_SS3 | ABR_Central.Central.STER_SHUTDOWN_SS3
DI | STER_CIP_MANUAL_PB_DI |  |  | OMR_GW2.STER.IR482.0 | IR482.0 | IR482.0 | CP_STER_CIP_MANUAL_PB_DI | STER_CIP_MANUAL_PB_DI | ABR_Central.Central.STER_CIP_MANUAL_PB_DI
DI | STER_SHUTDOWN_SS2 |  | STOP GELATIN FEED | OMR_GW2.STER.IR450.2 | IR450.2 | IR450.2 | CP_STER_SHUTDOWN_SS2 | STER_SHUTDOWN_SS2 | ABR_Central.Central.STER_SHUTDOWN_SS2
DI | STER_CIP_MONTH_PB_DI |  |  | OMR_GW2.STER.IR482.2 | IR482.2 | IR482.2 | CP_STER_CIP_MONTH_PB_DI | STER_CIP_MONTH_PB_DI | ABR_Central.Central.STER_CIP_MONTH_PB_DI
DI | STER_SHUTDOWN_SS1 |  | SHUTDOWN STARTED | OMR_GW2.STER.IR450.0 | IR450.0 | IR450.0 | CP_STER_SHUTDOWN_SS1 | STER_SHUTDOWN_SS1 | ABR_Central.Central.STER_SHUTDOWN_SS1
DI | STER_CIP_SHORT_PB_DI |  |  | OMR_GW2.STER.IR482.3 | IR482.3 | IR482.3 | CP_STER_CIP_SHORT_PB_DI | STER_CIP_SHORT_PB_DI | ABR_Central.Central.STER_CIP_SHORT_PB_DI
DI | STER_CIP_SQT_CIPSTART_TRIGGER |  | ir:420:00 | OMR_GW2.STER.IR420.0 | IR420.0 | IR420.0 | CP_STER_CIP_SQT_CIPSTART_TRIGGER | STER_CIP_CS1 | ABR_Central.Central.STER_CIP_CS1
DI | STER_CIP_SQT_CIPSTOP_TRIGGER |  | IR 422:12 | OMR_GW2.STER.IR422.12 | IR422.12 | IR422.12 | CP_STER_CIP_SQT_CIPSTOP_TRIGGER | STER_CIP_CS23 | ABR_Central.Central.STER_CIP_CS23
DI | STER_CIP_SQT_GELSTER_TRIGGER |  | IR 401:12 | OMR_GW2.STER.IR401.12 | IR401.12 | IR401.12 | CP_STER_CIP_SQT_GELSTER_TRIGGER | STER_PROCESS_PS15 | ABR_Central.Central.STER_PROCESS_PS15
DI | STER_CIP_SQT_PRODSTART_TRIGGER |  | IR 400:00 | OMR_GW2.STER.IR400.0 | IR400.0 | IR400.0 | CP_STER_CIP_SQT_PRODSTART_TRIGGER | STER_PROCESS_PS1 | ABR_Central.Central.STER_PROCESS_PS1
DI | STER_CIP_SQT_PURGE_TRIGGER |  | IR 450.00 | OMR_GW2.STER.IR450.0 | IR450.0 | IR450.0 | CP_STER_CIP_SQT_PURGE_TRIGGER | STER_SHUTDOWN_SS1 | ABR_Central.Central.STER_SHUTDOWN_SS1
DI | STER_CIP_START_DI | STER_CIP_START_DI_TIMESTAMP |  | OMR_GW2.STER.IR420.0 | IR420.0 | IR420.0 | CP_STER_CIP_START_DI | STER_CIP_CS1 | ABR_Central.Central.STER_CIP_CS1
DI | STER_SANITIZER_PMP |  | Sterilizer Sanitizer Pump Status | OMR_GW2.STER.IR2.14 | IR2.14 | IR2.14 | CP_STER_SANITIZER_PMP | STER_SANITIZER_PMP | ABR_Central.Central.STER_SANITIZER_PMP
DI | STER_CIP_START_PASS_THRU | YP_STER_CIP_START | STER CIP START TO Y-PROJECT | OMR_GW2.STER.IR420.0 | IR420.0 | IR420.0 | CP_STER_CIP_START_PASS_THRU | STER_CIP_CS1 | ABR_Central.Central.STER_CIP_CS1
DI | STER_CIP_STEP_CS24 |  |  | OMR_GW2.STER.IR422.14 | IR422.14 | IR422.14 | CP_STER_CIP_STEP_CS24 | STER_CIP_CS24 | ABR_Central.Central.STER_CIP_CS24
DI | STER_CIP_STEP_CS25 |  |  | OMR_GW2.STER.IR423.02 | IR423.02 | IR423.02 | CP_STER_CIP_STEP_CS25 | STER_CIP_CS26 | ABR_Central.Central.STER_CIP_CS26
DI | STER_PROD_PURGE_DI | STER_PROD_PURGE_DI_TIMESTAMP |  | OMR_GW2.STER.IR5.3 | IR5.3 | IR5.3 | CP_STER_PROD_PURGE_DI | STER_EXCEPTION_PROD_PURGE_DI | ABR_Central.Central.STER_EXCEPTION_PROD_PURGE_DI
DI | STER_PROC_CHEM_START_DI | STER_PROC_CHEM_TIMESTAMP |  | OMR_GW2.STER.IR500.15 | IR500.15 | IR500.15 | CP_STER_PROC_CHEM_START_DI | STER_PROC_CHEM_START_DI | ABR_Central.Central.STER_PROC_CHEM_START_DI
DI | STER_EXCEPTION_PROD_PURGE_DI | STER_EXCEPTION_SUSPEND_EV1 | PRODUCTION PURGE - SUSPEND ON | OMR_GW2.STER.IR5.3 | IR5.3 | IR5.3 | CP_STER_EXCEPTION_PROD_PURGE_DI | STER_EXCEPTION_PROD_PURGE_DI | ABR_Central.Central.STER_EXCEPTION_PROD_PURGE_DI
DI | STER_EXCEPTION_STER_TRANS_DI | STER_EXCEPTION_SUSPEND_EV2 | STER TRANSITION IND LIGHT - SUSPEND OFF | OMR_GW2.STER.IR5.9 | IR5.9 | IR5.9 | CP_STER_EXCEPTION_STER_TRANS_DI | STER_EXCEPTION_STER_TRANS_DI | ABR_Central.Central.STER_EXCEPTION_STER_TRANS_DI
DI | STER_PROCESS_START_DI | STER_PROC_START_DI_TIMESTAMP |  | OMR_GW2.STER.IR5.1 | IR5.1 | IR5.1 | CP_STER_PROCESS_START_DI | STER_PROCESS_START_DI | ABR_Central.Central.STER_PROCESS_START_DI
DI | STER_PROCESS_PS18 |  | LOW TEMP RECIRC TIME (2min) | OMR_GW2.STER.IR401.14 | IR401.14 | IR401.14 | CP_STER_PROCESS_PS18 | STER_PROCESS_PS18 | ABR_Central.Central.STER_PROCESS_PS18
DI | STER_IND_ACID | STER_IND_ACID_TIMESTAMP |  | OMR_GW2.STER.IR6.2 | IR6.2 | IR6.2 | CP_STER_IND_ACID | STER_IND_ACID | ABR_Central.Central.STER_IND_ACID
DI | STER_PROCESS_PS15 |  | START PRODUCTION MONITORING | OMR_GW2.STER.IR401.12 | IR401.12 | IR401.12 | CP_STER_PROCESS_PS15 | STER_PROCESS_PS15 | ABR_Central.Central.STER_PROCESS_PS15
DI | STER_IND_CAUSTIC | STER_IND_CAUSTIC_TIMESTAMP |  | OMR_GW2.STER.IR5.12 | IR5.12 | IR5.12 | CP_STER_IND_CAUSTIC | STER_IND_CAUSTIC | ABR_Central.Central.STER_IND_CAUSTIC
DI | STER_PROCESS_PS14 |  | SYSTEM FORWARD (ONLINE) | OMR_GW2.STER.IR401.10 | IR401.10 | IR401.10 | CP_STER_PROCESS_PS14 | STER_PROCESS_PS14 | ABR_Central.Central.STER_PROCESS_PS14
DI | STER_IND_GEL_STERILIZATION | STER_IND_GEL_STER_TIMESTAMP |  | OMR_GW2.STER.IR5.10 | IR5.10 | IR5.10 | CP_STER_IND_GEL_STERILIZATION | STER_IND_GEL_STERILIZATION | ABR_Central.Central.STER_IND_GEL_STERILIZATION
DI | STER_PROCESS_PS13 |  | WAITING FOR SEPARATOR LEVEL | OMR_GW2.STER.IR401.8 | IR401.8 | IR401.8 | CP_STER_PROCESS_PS13 | STER_PROCESS_PS13 | ABR_Central.Central.STER_PROCESS_PS13
DI | STER_IND_P116 |  |  | OMR_GW2.STER.IR2.7 | IR2.7 | IR2.7 | CP_STER_IND_P116 | STER_P116_STATUS | ABR_Central.Central.STER_P116_STATUS
DI | STER_IND_P118 |  |  | OMR_GW2.STER.IR5.6 | IR5.6 | IR5.6 | CP_STER_IND_P118 | STER_IND_P118 | ABR_Central.Central.STER_IND_P118
DI | STER_IND_STER_TRANSITION | STER_IND_STER_TRAN_TIMESTAMP |  | OMR_GW2.STER.IR5.9 | IR5.9 | IR5.9 | CP_STER_IND_STER_TRANSITION | STER_EXCEPTION_STER_TRANS_DI | ABR_Central.Central.STER_EXCEPTION_STER_TRANS_DI
DI | STER_PROCESS_PS12 |  | START FEED CONTROL | OMR_GW2.STER.IR401.6 | IR401.6 | IR401.6 | CP_STER_PROCESS_PS12 | STER_PROCESS_PS12 | ABR_Central.Central.STER_PROCESS_PS12
DI | STER_IND_VAC_LIQ_LVL | STER_IND_VAC_LIQ_LVL_TIMESTAMP |  | OMR_GW2.STER.IR5.7 | IR5.7 | IR5.7 | CP_STER_IND_VAC_LIQ_LVL | STER_IND_VAC_LIQ_LVL | ABR_Central.Central.STER_IND_VAC_LIQ_LVL
DI | STER_PROCESS_PS11 |  | TRANSITION TO PRODUCT | OMR_GW2.STER.IR401.4 | IR401.4 | IR401.4 | CP_STER_PROCESS_PS11 | STER_PROCESS_PS11 | ABR_Central.Central.STER_PROCESS_PS11
DI | STER_IND_WATER_RINSE1 | STER_IND_WAT_RINSE1_TIMESTAMP |  | OMR_GW2.STER.IR5.11 | IR5.11 | IR5.11 | CP_STER_IND_WATER_RINSE1 | STER_IND_WATER_RINSE1 | ABR_Central.Central.STER_IND_WATER_RINSE1
DI | STER_IND_WATER_RINSE2 | STER_IND_WAT_RINSE2_TIMESTAMP |  | OMR_GW2.STER.IR5.13 | IR5.13 | IR5.13 | CP_STER_IND_WATER_RINSE2 | STER_IND_WATER_RINSE2 | ABR_Central.Central.STER_IND_WATER_RINSE2
DI | STER_IND_WATER_RINSE3 | STER_IND_WAT_RINSE3_TIMESTAMP |  | OMR_GW2.STER.IR6.3 | IR6.3 | IR6.3 | CP_STER_IND_WATER_RINSE3 | STER_IND_WATER_RINSE3 | ABR_Central.Central.STER_IND_WATER_RINSE3
DI | STER_IND_WATER_STERILIZATION | STER_IND_WATER_STER_TIMESTAMP |  | OMR_GW2.STER.IR5.8 | IR5.8 | IR5.8 | CP_STER_IND_WATER_STERILIZATION | STER_IND_WATER_STERILIZATION | ABR_Central.Central.STER_IND_WATER_STERILIZATION
DI | STER_PROCESS_PS10 |  | SYSTEM STERILE (READY) | OMR_GW2.STER.IR401.2 | IR401.2 | IR401.2 | CP_STER_PROCESS_PS10 | STER_PROCESS_PS10 | ABR_Central.Central.STER_PROCESS_PS10
DI | STER_PROCESS_PS9 |  | START STERILIZATION TIME | OMR_GW2.STER.IR401.0 | IR401.0 | IR401.0 | CP_STER_PROCESS_PS9 | STER_PROCESS_PS9 | ABR_Central.Central.STER_PROCESS_PS9
DI | STER_PROCESS_PS8 |  | START STEAM / POSITION VALVES | OMR_GW2.STER.IR400.14 | IR400.14 | IR400.14 | CP_STER_PROCESS_PS8 | STER_PROCESS_PS8 | ABR_Central.Central.STER_PROCESS_PS8
DI | STER_PROCESS_PS7 |  | RECIRCULATION | OMR_GW2.STER.IR400.12 | IR400.12 | IR400.12 | CP_STER_PROCESS_PS7 | STER_PROCESS_PS7 | ABR_Central.Central.STER_PROCESS_PS7
DI | STER_LAMP_TEST_DI |  |  | OMR_GW2.STER.IR0.2 | IR0.2 | IR0.2 | CP_STER_LAMP_TEST_DI | STER_LAMP_TEST_DI | ABR_Central.Central.STER_LAMP_TEST_DI
DI | STER_PROCESS_PS6 |  | START P64 | OMR_GW2.STER.IR400.10 | IR400.10 | IR400.10 | CP_STER_PROCESS_PS6 | STER_PROCESS_PS6 | ABR_Central.Central.STER_PROCESS_PS6
DI | STER_PROCESS_PS5 |  | START VACUUM MONITORING | OMR_GW2.STER.IR400.8 | IR400.8 | IR400.8 | CP_STER_PROCESS_PS5 | STER_PROCESS_PS5 | ABR_Central.Central.STER_PROCESS_PS5
DI | STER_P116_OUTPUT_RELAY | STER_P116_OUTPUT_PASSTHRU | P116 OUTPUT STATUS | OMR_GW2.STER.IR2.07 | IR2.07 | IR2.07 | CP_STER_P116_OUTPUT_RELAY | STER_P116_STATUS | ABR_Central.Central.STER_P116_STATUS
DI | STER_PROCESS_PS4 |  | START VACUUM | OMR_GW2.STER.IR400.6 | IR400.6 | IR400.6 | CP_STER_PROCESS_PS4 | STER_PROCESS_PS4 | ABR_Central.Central.STER_PROCESS_PS4
DI | STER_PROCESS_PS3 |  | START P64 | OMR_GW2.STER.IR400.4 | IR400.4 | IR400.4 | CP_STER_PROCESS_PS3 | STER_PROCESS_PS3 | ABR_Central.Central.STER_PROCESS_PS3
DI | STER_PROCESS_PS2 |  | START P116 / P76 | OMR_GW2.STER.IR400.2 | IR400.2 | IR400.2 | CP_STER_PROCESS_PS2 | STER_PROCESS_PS2 | ABR_Central.Central.STER_PROCESS_PS2
DI | STER_PROCESS_PS1 |  | PROCESS STARTED | OMR_GW2.STER.IR400.0 | IR400.0 | IR400.0 | CP_STER_PROCESS_PS1 | STER_PROCESS_PS1 | ABR_Central.Central.STER_PROCESS_PS1
DI | STER_TIM_245 |  | TIMER 245 STATUS | OMR_GW2.STER.TC245 | TC245 | TC245 | CP_STER_TIM_245 | STER_TIM_245 | ABR_Central.Central.STER_TIM_245
DI | STER_TIM_247 |  | TIMER 247 STATUS | OMR_GW2.STER.TC247 | TC247 | TC247 | CP_STER_TIM_247 | STER_TIM_247 | ABR_Central.Central.STER_TIM_247
DI | STER_TIM_248 |  | TIMER 248 STATUS | OMR_GW2.STER.TC248 | TC248 | TC248 | CP_STER_TIM_248 | STER_TIM_248 | ABR_Central.Central.STER_TIM_248
DI | STER_TIM_249 |  | TIMER 249 STATUS | OMR_GW2.STER.TC249 | TC249 | TC249 | CP_STER_TIM_249 | STER_TIM_249 | ABR_Central.Central.STER_TIM_249
DI | STER_TOGGLE_SWITCH_ALERT |  | Sterilizer Panel Toggle Switch in MAN | OMR_GW2.STER.IR504.10 | IR504.10 | IR504.10 | CP_STER_TOGGLE_SWITCH_ALERT | STER_TOGGLE_SWITCH_ALERT | ABR_Central.Central.STER_TOGGLE_SWITCH_ALERT
DI | STER_V77 |  |  | OMR_GW2.STER.IR4.1 | IR4.1 | IR4.1 | CP_STER_V77 | STER_V77 | ABR_Central.Central.STER_V77
DI | STER_V88 |  |  | OMR_GW2.STER.IR4.0 | IR4.0 | IR4.0 | CP_STER_V88 | STER_V88 | ABR_Central.Central.STER_V88
DI | STER_V90 |  |  | OMR_GW2.STER.IR4.2 | IR4.2 | IR4.2 | CP_STER_V90 | STER_V90 | ABR_Central.Central.STER_V90
DI | STER_V91 |  |  | OMR_GW2.STER.IR4.3 | IR4.3 | IR4.3 | CP_STER_V91 | STER_V91 | ABR_Central.Central.STER_V91
DI | STER_V93 |  |  | OMR_GW2.STER.IR4.4 | IR4.4 | IR4.4 | CP_STER_V93 | STER_V93 | ABR_Central.Central.STER_V93
DI | STER_V99 |  |  | OMR_GW2.STER.IR4.6 | IR4.6 | IR4.6 | CP_STER_V99 | STER_V99 | ABR_Central.Central.STER_V99
DI | STER_V100 |  |  | OMR_GW2.STER.IR4.7 | IR4.7 | IR4.7 | CP_STER_V100 | STER_V100 | ABR_Central.Central.STER_V100
DI | STER_V101 |  |  | OMR_GW2.STER.IR4.8 | IR4.8 | IR4.8 | CP_STER_V101 | STER_V101 | ABR_Central.Central.STER_V101
DI | STER_PROCESS | STER_PROCESS_START_TIMESTAMP |  | OMR_GW2.STER.IR400.0 | IR400.0 | IR400.0 | CP_STER_PROCESS | STER_PROCESS_PS1 | ABR_Central.Central.STER_PROCESS_PS1
DI | STER_V103 |  | V103 STATUS (O/P INVERTED) | OMR_GW2.STER.IR4.9 | IR4.9 | IR4.9 | CP_STER_V103 | STER_V103 | ABR_Central.Central.STER_V103
DI | STER_V103_ACTUAL |  | V103 STATUS (O/P INVERTED) | OMR_GW2.STER.IR4.09 | IR4.09 | IR4.09 | CP_STER_V103_ACTUAL | STER_V103 | ABR_Central.Central.STER_V103
DI | STER_V104 |  | V104 STATUS | OMR_GW2.STER.IR4.10 | IR4.10 | IR4.10 | CP_STER_V104 | STER_V104 | ABR_Central.Central.STER_V104
DI | STER_V106 |  |  | OMR_GW2.STER.IR4.11 | IR4.11 | IR4.11 | CP_STER_V106 | STER_V106 | ABR_Central.Central.STER_V106
DI | STER_V107 |  |  | OMR_GW2.STER.IR4.12 | IR4.12 | IR4.12 | CP_STER_V107 | STER_V107 | ABR_Central.Central.STER_V107
DI | STER_V108 |  |  | OMR_GW2.STER.IR4.13 | IR4.13 | IR4.13 | CP_STER_V108 | STER_V108 | ABR_Central.Central.STER_V108
DI | STER_V109 |  |  | OMR_GW2.STER.IR4.14 | IR4.14 | IR4.14 | CP_STER_V109 | STER_V109 | ABR_Central.Central.STER_V109
DI | STER_V110 |  |  | OMR_GW2.STER.IR4.15 | IR4.15 | IR4.15 | CP_STER_V110 | STER_V110 | ABR_Central.Central.STER_V110
DI | STER_V111 |  |  | OMR_GW2.STER.IR6.06 | IR6.06 | IR6.06 | CP_STER_V111 | STER_V111 | ABR_Central.Central.STER_V111
DI | STER_V112 |  |  | OMR_GW2.STER.IR6.07 | IR6.07 | IR6.07 | CP_STER_V112 | STER_V112 | ABR_Central.Central.STER_V112
DI | STER_V113 |  | Vert. Condenser Drain Valve | OMR_GW2.STER.IR6.08 | IR6.08 | IR6.08 | CP_STER_V113 | STER_V113 | ABR_Central.Central.STER_V113
DI | STER_V114 |  | Vert. Condenser Condensate Return (N/O) | OMR_GW2.STER.IR3.11 | IR3.11 | IR3.11 | CP_STER_V114 | VERT_CONDENSER_CONDENSATE_RETURN | ABR_Central.Central.VERT_CONDENSER_CONDENSATE_RETURN
DI | STER_V115 |  | Vert. Condenser CIP Valve | OMR_GW2.STER.IR3.12 | IR3.12 | IR3.12 | CP_STER_V115 | STER_V115 | ABR_Central.Central.STER_V115
DI | STER_V116 |  | Vert. Condenser Cooling Water Valves | OMR_GW2.STER.IR3.06 | IR3.06 | IR3.06 | CP_STER_V116 | STER_V116 | ABR_Central.Central.STER_V116
DI | STER_CIP_START_SCADA_PB |  | Sterilizer CIP SCADA Start | OMR_GW2.STER.IR233.3 | IR233.3 | IR233.3 | CP_STER_CIP_START_SCADA_PB | STER_CIP_START_SCADA_PB | ABR_Central.Central.STER_CIP_START_SCADA_PB
DI | STER_PROCESS_START_SCADA_PB |  | Sterilizer Process SCADA Start | OMR_GW2.STER.IR233.1 | IR233.1 | IR233.1 | CP_STER_PROCESS_START_SCADA_PB | STER_PROCESS_START_SCADA_PB | ABR_Central.Central.STER_PROCESS_START_SCADA_PB
DI | STER_PROD_PURGE_SCADA_PB |  | Sterilizer Production Purge SCADA Start | OMR_GW2.STER.IR233.7 | IR233.7 | IR233.7 | CP_STER_PROD_PURGE_SCADA_PB | STER_PROD_PURGE_SCADA_PB | ABR_Central.Central.STER_PROD_PURGE_SCADA_PB
DO | STER_PH_SFTK__INTLK |  | SFTK Interlock to Sterilzer for CIP | OMR_GW2.STER.IR506.07 | IR506.07 | IR506.07 | CP_STER_PH_SFTK__INTLK | STER_PH_SFTK_INTLK | ABR_Central.Central.STER_PH_SFTK_INTLK
DO | STER_P118_START_DO |  | P118 PUSH BUTTON | OMR_GW2.STER.IR233.6 | IR233.6 | IR233.6 | CP_STER_P118_START_DO | STER_P118_START_DO | ABR_Central.Central.STER_P118_START_DO
DO | STER_P116_START_DO |  | P116 START PUSH BUTTON | OMR_GW2.STER.IR233.5 | IR233.5 | IR233.5 | CP_STER_P116_START_DO | STER_P116_START_DO | ABR_Central.Central.STER_P116_START_DO
DO | STER_PROD_PURGE_DO |  |  | OMR_GW2.STER.IR233.7 | IR233.7 | IR233.7 | CP_STER_PROD_PURGE_DO | STER_PROD_PURGE_SCADA_PB | ABR_Central.Central.STER_PROD_PURGE_SCADA_PB
DO | STER_CIP_SHORT_DO |  | STERILIZER CIP | OMR_GW2.STER.IR481.3 | IR481.3 | IR481.3 | CP_STER_CIP_SHORT_DO | STER_CIP_SHORT_DO | ABR_Central.Central.STER_CIP_SHORT_DO
DO | STER_CIP_MONTH_DO |  | STERILIZER CIP | OMR_GW2.STER.IR481.2 | IR481.2 | IR481.2 | CP_STER_CIP_MONTH_DO | STER_CIP_MONTH_DO | ABR_Central.Central.STER_CIP_MONTH_DO
DO | STER_CIP_MANUAL_DO |  | STERILIZER CIP | OMR_GW2.STER.IR481.0 | IR481.0 | IR481.0 | CP_STER_CIP_MANUAL_DO | STER_CIP_MANUAL_DO | ABR_Central.Central.STER_CIP_MANUAL_DO
DO | STER_CIP_AUTO_DO |  | STERILIZER CIP | OMR_GW2.STER.IR481.1 | IR481.1 | IR481.1 | CP_STER_CIP_AUTO_DO | STER_CIP_AUTO_DO | ABR_Central.Central.STER_CIP_AUTO_DO
AA | STER_CIP_COND1 | STER_CIP_COND1_CA | sterilizer CIP conductivity 0-100 ms/cm | OMR_GW2.STER.IR103 | IR103 | IR103 | CP_STER_CIP_COND1 | _COND_TX1 | ABR_Central.Central._COND_TX1
AA | STER_CIP_COND |  | sterilizer CIP conductivity (us/cm) | OMR_GW2.STER.IR114 | IR114 | IR114 | CP_STER_CIP_COND | _CIP_CAUSTIC_FLOW | ABR_Central.Central._CIP_CAUSTIC_FLOW
AA | STER_CIP_CAUSTIC_PULSE_PREV |  | STERILIZER CIP CAUSTIC FLOW PULSE TOT | OMR_GW2.STER.DM541 | DM541 | DM541 | CP_STER_CIP_CAUSTIC_PULSE_PREV | STER_CIP_CAUSTIC_PULSE_PREV | ABR_Central.Central.STER_CIP_CAUSTIC_PULSE_PREV
AA | STER_CIP_CAUSTIC_PULSE |  | STER CIP CAUSTIC FLOW PULSE (2lt/p) | OMR_GW2.STER.DM539 | DM539 | DM539 | CP_STER_CIP_CAUSTIC_PULSE | STER_CIP_CAUSTIC_PULSE | ABR_Central.Central.STER_CIP_CAUSTIC_PULSE
AA | STER_CIP_CAUSTIC_FLOW | STER_CIP_CAUSTIC_TOT | STERILIZER CIP CAUSTIC FLOW (0-50lt/min) | OMR_GW2.STER.IR114 | IR114 | IR114 | CP_STER_CIP_CAUSTIC_FLOW | _CIP_CAUSTIC_FLOW | ABR_Central.Central._CIP_CAUSTIC_FLOW
AA | STERILE_TK_TEMP | STERILE_TK_TEMP_CIP | sterile tank temp | OMR_GW2.STER.IR102@BCD | IR102@BCD | IR102 | CP_STERILE_TK_TEMP | STERILE_TK_TEMP | ABR_Central.Central.STERILE_TK_TEMP
AA | STER_STEAM_PRESSURE |  | STERILIZER STEAM PRESSURE LOW | OMR_GW2.STER.IR113 | IR113 | IR113 | CP_STER_STEAM_PRESSURE | _STEAM_PRESS_TX | ABR_Central.Central._STEAM_PRESS_TX
AA | WEST_VOT_TEMP | WEST_VOT_TEMP_CIP | west votator head temp | OMR_GW2.STER.IR104 | IR104 | IR104 | CP_WEST_VOT_TEMP | W_VOTATOR_TEMP | ABR_Central.Central.W_VOTATOR_TEMP
AA | STER_LEVEL_STERILE_TK | STER_STERILE_VOLUME | STERILIZER STERILE TANK LEVEL % | OMR_GW2.STER.IR112@BCD | IR112@BCD | IR112 | CP_STER_LEVEL_STERILE_TK | STLEVEL | ABR_Central.Central.STLEVEL
AA | STER_LEVEL_SEP_CIP |  | SEPARATOR LEVEL CIP MODE | OMR_GW2.STER.DM520 | DM520 | DM520 | CP_STER_LEVEL_SEP_CIP | STER_LEVEL_SEP | ABR_Central.Central.STER_LEVEL_SEP
AA | STER_LEVEL_SEP |  | SEPARATOR LEVEL | OMR_GW2.STER.DM520@BCD | DM520@BCD | DM520 | CP_STER_LEVEL_SEP | STER_LEVEL_SEP | ABR_Central.Central.STER_LEVEL_SEP
AA | STER_TR74 |  | STERILE LOOP TEMP (Before Loop) | OMR_GW2.STER.DM481@BCD | DM481@BCD | DM481 | CP_STER_TR74 | STER_TR74 | ABR_Central.Central.STER_TR74
AA | STER_FLOW_PASSTHRU | STER_FLOW_TO_CHEM | Sterilizer Flowrate to Chemetaor PLC | OMR_GW2.STER.DM530@BCD | DM530@BCD | DM530 | CP_STER_FLOW_PASSTHRU | STER_FLOW_PASSTHRU | ABR_Central.Central.STER_FLOW_PASSTHRU
AA | STER_FLOW_CIP |  | STERILIZER FLOWMETER CIP | OMR_GW2.STER.DM530 | DM530 | DM530 | CP_STER_FLOW_CIP | STER_FLOW_PASSTHRU | ABR_Central.Central.STER_FLOW_PASSTHRU
AA | STER_FLOW | STER_FLOW_CA | STERILIZER FLOWMETER | OMR_GW2.STER.DM530 | DM530 | DM530 | CP_STER_FLOW | STER_FLOW_PASSTHRU | ABR_Central.Central.STER_FLOW_PASSTHRU
AA | STER_TR74A |  | STERILE LOOP TEMP (After Loop) | OMR_GW2.STER.DM480@BCD | DM480@BCD | DM480 | CP_STER_TR74A | STER_TR74A | ABR_Central.Central.STER_TR74A
AA | STER_TR74A_EXCEPTION_AI |  | TR74A | OMR_GW2.STER.IR101@BCD | IR101@BCD | IR101 | CP_STER_TR74A_EXCEPTION_AI | AFTER_LOOP | ABR_Central.Central.AFTER_LOOP
AA | STER_TR74_EXCEPTION_AI |  | TR74 | OMR_GW2.STER.DM500@BCD | DM500@BCD | DM500 | CP_STER_TR74_EXCEPTION_AI | STER_TR74_BEFORE_LOOP | ABR_Central.Central.STER_TR74_BEFORE_LOOP
AA | STER_VAC |  | STERILIZER VACUUM LOW (PICA70) | OMR_GW2.STER.DM510@BCD | DM510@BCD | DM510 | CP_STER_VAC | STER_VAC | ABR_Central.Central.STER_VAC
AA | STER_TR74_BEFORE_LOOP |  | STERILE LOOP TEMP (Before Loop) | OMR_GW2.STER.DM500@BCD | DM500@BCD | DM500 | CP_STER_TR74_BEFORE_LOOP | STER_TR74_BEFORE_LOOP | ABR_Central.Central.STER_TR74_BEFORE_LOOP
AA | STER_TR74A_AFTER_LOOP |  | STERILE LOOP TEMP (After Loop) | OMR_GW2.STER.IR101@BCD | IR101@BCD | IR101 | CP_STER_TR74A_AFTER_LOOP | AFTER_LOOP | ABR_Central.Central.AFTER_LOOP
DA | STER_CIP_DTRGNT_FLOW_LO |  | Sterilizer CIP Detergent Flow Low | OMR_GW2.STER.IR489.14 | IR489.14 | IR489.14 | CP_STER_CIP_DTRGNT_FLOW_LO | STER_CIP_DTRGNT_FLOW_LO | ABR_Central.Central.STER_CIP_DTRGNT_FLOW_LO
DA | STER_SHORT_CIP_REMINDER |  | >3Hrs from CIP to Startup - DO SHORT CIP | OMR_GW2.STER.IR423.11 | IR423.11 | IR423.11 | CP_STER_SHORT_CIP_REMINDER | STER_SHORT_CIP_REMINDER | ABR_Central.Central.STER_SHORT_CIP_REMINDER
DA | STER_CIP_DTRGNT_COND_LO |  | Sterilizer CIP Detergent Conductivity LO | OMR_GW2.STER.IR490.07 | IR490.07 | IR490.07 | CP_STER_CIP_DTRGNT_COND_LO | STER_CIP_DTRGNT_COND_LO | ABR_Central.Central.STER_CIP_DTRGNT_COND_LO
DA | STER_CIP_STATUS |  | MONITORS IF IN CIP MODE | OMR_GW2.STER.IR233.9 | IR233.9 | IR233.9 | CP_STER_CIP_STATUS | STER_CIP_STATUS | ABR_Central.Central.STER_CIP_STATUS
DA | STER_RECLAIM_TANK_LEVEL |  | Chemetator Recovery Tank HI Level | OMR_GW2.STER.IR504.12 | IR504.12 | IR504.12 | CP_STER_RECLAIM_TANK_LEVEL | STER_RECLAIM_TANK_LEVEL | ABR_Central.Central.STER_RECLAIM_TANK_LEVEL
DA | STER_RECLAIM_PUMP_TRIPPED |  | Chemetator Recovery Tank Pump Overload | OMR_GW2.STER.IR504.11 | IR504.11 | IR504.11 | CP_STER_RECLAIM_PUMP_TRIPPED | STER_RECLAIM_PUMP_TRIPPED | ABR_Central.Central.STER_RECLAIM_PUMP_TRIPPED
DA | STER_PU66_CIP_LOWFLOW |  | P66 CIP LowFlow Rate "check P66" | OMR_GW2.STER.IR471.0 | IR471.0 | IR471.0 | CP_STER_PU66_CIP_LOWFLOW | STER_PU66_CIP_LOWFLOW | ABR_Central.Central.STER_PU66_CIP_LOWFLOW
DA | STER_LEVEL_ALARM |  | STERILE TANK LOW LEVEL | OMR_GW2.STER.IR504.0 | IR504.0 | IR504.0 | CP_STER_LEVEL_ALARM | STER_LEVEL_ALARM | ABR_Central.Central.STER_LEVEL_ALARM
DA | STER_LEVEL_BALANCE_TK_ALARM |  | STERILIZER BALANCE TANK LOW LEVEL | OMR_GW2.STER.IR500.6 | IR500.6 | IR500.6 | CP_STER_LEVEL_BALANCE_TK_ALARM | STER_LEVEL_BALANCE_TK_ALARM | ABR_Central.Central.STER_LEVEL_BALANCE_TK_ALARM
DA | STER_LEVEL_BALANCE_TK_DA |  | BALANCE TANK LOW LEVEL <20% | OMR_GW2.STER.IR500.1 | IR500.1 | IR500.1 | CP_STER_LEVEL_BALANCE_TK_DA | STER_LEVEL_BALANCE_TK_DA | ABR_Central.Central.STER_LEVEL_BALANCE_TK_DA
DA | STER_LEVEL_BALANCE_TK_LOW |  | BALANCE TANK LOW LEVEL <15% | OMR_GW2.STER.IR500.3 | IR500.3 | IR500.3 | CP_STER_LEVEL_BALANCE_TK_LOW | STER_LEVEL_BALANCE_TK_LOW | ABR_Central.Central.STER_LEVEL_BALANCE_TK_LOW
DA | STER_LEVEL_SEPARATOR |  | SEPARATOR LEVEL HI - CHECK P72 | OMR_GW2.STER.IR470.08 | IR470.08 | IR470.08 | CP_STER_LEVEL_SEPARATOR | STER_LEVEL_SEPARATOR | ABR_Central.Central.STER_LEVEL_SEPARATOR
DA | STER_P64_STATUS |  | STERILIZER P64 STATUS | OMR_GW2.STER.IR2.0 | IR2.0 | IR2.0 | CP_STER_P64_STATUS | STER_P64_STATUS | ABR_Central.Central.STER_P64_STATUS
DA | STER_P66_STATUS |  | STERILIZER P66 STATUS | OMR_GW2.STER.IR2.2 | IR2.2 | IR2.2 | CP_STER_P66_STATUS | STER_P66_STATUS | ABR_Central.Central.STER_P66_STATUS
DA | STER_P67_STATUS |  | STERILIZER P67 STATUS | OMR_GW2.STER.IR2.3 | IR2.3 | IR2.3 | CP_STER_P67_STATUS | STER_P67_STATUS | ABR_Central.Central.STER_P67_STATUS
DA | STER_P68_STATUS |  | STERILIZER P68 STATUS | OMR_GW2.STER.IR2.4 | IR2.4 | IR2.4 | CP_STER_P68_STATUS | STER_P68_STATUS | ABR_Central.Central.STER_P68_STATUS
DA | STER_P69_STATUS |  | STERILIZER P69 STATUS | OMR_GW2.STER.IR2.5 | IR2.5 | IR2.5 | CP_STER_P69_STATUS | STER_P69_STATUS | ABR_Central.Central.STER_P69_STATUS
DA | STER_P72_STATUS |  | STERILIZER P72 STATUS | OMR_GW2.STER.IR2.1 | IR2.1 | IR2.1 | CP_STER_P72_STATUS | STER_P72_STATUS | ABR_Central.Central.STER_P72_STATUS
DA | STER_P76_STATUS | STER_P76_STATUS_EVAP | STERILIZER P76 STATUS | OMR_GW2.STER.IR2.6 | IR2.6 | IR2.6 | CP_STER_P76_STATUS | STER_P76_STATUS | ABR_Central.Central.STER_P76_STATUS
DA | STER_P116_STATUS | STER_P116_START_TIMESTAMP | STERILIZER P116 starter when in auto | OMR_GW2.STER.IR2.7 | IR2.7 | IR2.7 | CP_STER_P116_STATUS | STER_P116_STATUS | ABR_Central.Central.STER_P116_STATUS
DA | STER_P117_STATUS |  | STERILIZER P117 STATUS | OMR_GW2.STER.IR2.9 | IR2.9 | IR2.9 | CP_STER_P117_STATUS | STER_P117_STATUS | ABR_Central.Central.STER_P117_STATUS
DA | STER_P118_STATUS |  | STERILIZER P118 starter when in auto | OMR_GW2.STER.IR2.8 | IR2.8 | IR2.8 | CP_STER_P118_STATUS | STER_P118_STATUS | ABR_Central.Central.STER_P118_STATUS
DA | STER_P119_STATUS |  | STERILIZER P119 STATUS | OMR_GW2.STER.IR2.10 | IR2.10 | IR2.10 | CP_STER_P119_STATUS | STER_P119_STATUS | ABR_Central.Central.STER_P119_STATUS
DA | STER_BLTK<15% |  | BALANCE TANK < 15 % "CHECK P76" | OMR_GW2.STER.IR500.3 | IR500.3 | IR500.3 | CP_STER_BLTK<15% | STER_LEVEL_BALANCE_TK_LOW | ABR_Central.Central.STER_LEVEL_BALANCE_TK_LOW
DA | STER_BEFORELOOP_TEMP |  | BEFORE LOOP TEMP <140 c | OMR_GW2.STER.IR470.14 | IR470.14 | IR470.14 | CP_STER_BEFORELOOP_TEMP | STER_BEFORELOOP_TEMP | ABR_Central.Central.STER_BEFORELOOP_TEMP
DA | STER_AFTERLOOP_TEMP |  | AFTER LOOP TEMP <140 c | OMR_GW2.STER.IR470.12 | IR470.12 | IR470.12 | CP_STER_AFTERLOOP_TEMP | STER_AFTERLOOP_TEMP | ABR_Central.Central.STER_AFTERLOOP_TEMP
DA | STER_START_CIP_DA |  |  | OMR_GW2.STER.IR420.0 | IR420.0 | IR420.0 | CP_STER_START_CIP_DA | STER_CIP_CS1 | ABR_Central.Central.STER_CIP_CS1
DA | STER_STEAM_PRESSURE_ALM |  | Sterilizer Low Steam Pressure Alarm | OMR_GW2.STER.IR315.4 | IR315.4 | IR315.4 | CP_STER_STEAM_PRESSURE_ALM | STER_STEAM_PRESSURE_ALM | ABR_Central.Central.STER_STEAM_PRESSURE_ALM
DA | STER_TOGGLE_SWITCH_MANUAL |  | Toggle Switch Manual @ Sterilizer Panel | OMR_GW2.STER.IR0.09 | IR0.09 | IR0.09 | CP_STER_TOGGLE_SWITCH_MANUAL | STER_TOGGLE_SWITCH_MANUAL | ABR_Central.Central.STER_TOGGLE_SWITCH_MANUAL
DA | SYS_WATCH_STER_OPEN |  | MONITOR 1 MIN TIMER 254.0 | OMR_GW2.STER.IR254.0 | IR254.0 | IR254.0 | CP_SYS_WATCH_STER_OPEN | SYS_WATCH_STER_OPEN | ABR_Central.Central.SYS_WATCH_STER_OPEN
DA | SYS_WATCH_STER_CLOSE |  | MONITOR 1 MIN TIMER 254.0 | OMR_GW2.STER.IR254.0 | IR254.0 | IR254.0 | CP_SYS_WATCH_STER_CLOSE | SYS_WATCH_STER_OPEN | ABR_Central.Central.SYS_WATCH_STER_OPEN
DA | STER_VSD_FAULT_ALARM |  | STER_PUMPS_VSD_FAULT | OMR_GW2.STER.IR503.0 | IR503.0 | IR503.0 | CP_STER_VSD_FAULT_ALARM | STER_VSD_FAULT_ALARM | ABR_Central.Central.STER_VSD_FAULT_ALARM
DA | STER_PROCESS_ALARM |  |  | OMR_GW2.STER.IR3.8 | IR3.8 | IR3.8 | CP_STER_PROCESS_ALARM | STER_PROCESS_ALARM | ABR_Central.Central.STER_PROCESS_ALARM
DA | STER_PH_SFTK_INTLK_ALM |  | Cannot Start CIP - Close Outlet Valves | OMR_GW2.STER.IR506.08 | IR506.08 | IR506.08 | CP_STER_PH_SFTK_INTLK_ALM | STER_PH_SFTK_INTLK_ALM | ABR_Central.Central.STER_PH_SFTK_INTLK_ALM
MDO | STER_CIP_AUTO_MDO |  | STERILIZER AUTO CIP | OMR_GW2.STER.IR481.1 | IR481.1 | IR481.1 | CP_STER_CIP_AUTO_MDO | STER_CIP_AUTO_DO | ABR_Central.Central.STER_CIP_AUTO_DO
MDO | STER_CIP_MANUAL_MDO |  | STERILIZER MANUAL CIP | OMR_GW2.STER.IR481.0 | IR481.0 | IR481.0 | CP_STER_CIP_MANUAL_MDO | STER_CIP_MANUAL_DO | ABR_Central.Central.STER_CIP_MANUAL_DO
MDO | STER_CIP_MONTH_MDO |  | STERILIZER MONTHLY CIP | OMR_GW2.STER.IR481.2 | IR481.2 | IR481.2 | CP_STER_CIP_MONTH_MDO | STER_CIP_MONTH_DO | ABR_Central.Central.STER_CIP_MONTH_DO
MDO | STER_CIP_SHORT_MDO |  | STERILIZER SHORT CIP | OMR_GW2.STER.IR481.3 | IR481.3 | IR481.3 | CP_STER_CIP_SHORT_MDO | STER_CIP_SHORT_DO | ABR_Central.Central.STER_CIP_SHORT_DO